EXPLODED VIEW

VS-PORTOFINO 654 – 1190 – 1785 – 2380 – 2975 – 3570

SELF-SERVICE

GENERAL SPLITTING UP

- GLASSES SUPERSTRUCTURE

- INTERNAL FINISH, DISPLAY AREA

- FRONTAL DECORATION, FRAME, DRAIN

- CONTROL BOARD

- COMPLETE SIDE WALL

1. GLASSES SUPERSTRUCTURE

  - GLASS AND PROFILES

  - BUMPER BAND

1.1  GLASS AND PROFILES

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 654 | 1190 | 1785 | 2380 | 2975 | 3570 | 45 E | 45 I | 90 E | 90 I |
| 1 | EEAV 122 | SILKSCREEN R1000 GLASS SELF-SERVICE | FLOAT 6mm SILKSCREEN |  | 4191921 | 4191920 | 4191921 | 4191922 | 4191921 |  |  |  |  |
| 2 | RG126 | GLASS FIXING BRACKET S/S AN. | STAINLESS STEEL AISI 304 15/10 | 6SV072030402 |
| 3 | RG126 | GLASS FIXING BRACKET S/S PO. | STAINLESS STEEL AISI 304 15/10 | 6SV072030403 |
| 4 | ET0D 011 | FRONT GLASS SELF-SERVICE ALIGNMENT BRACKET |  |  |  | 6DV200032334 | 6DV200032334 | 6DV200032334 | 6DV200032334 |  |  |  |  |

1.2 BUMPER BAND

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 654 | 1190 | 1785 | 2380 | 2975 | 3570 | 45 E | 45 I | 90 E | 90 I |
| 1 | DA0L 010 | GLASS LEDGE PROFILE LINEAR MODULES) | ALUMINIUM PROFILE | 2PV0650F0005 | 2PV1200F0005 | 2PV2000F0005 | 2PV2500F0005 | 2PV3000F0005 | 2PV3600F0005 | 2PV45E0F0015 (DX) | 2PV45I0F0015 (DX) | 2PV45E0F0015 (DX ) | 2PV45I0F0015 (DX) |
|  |  |  |  |  |  |  |  |  |  | 2PV45E0F0025 (SX) | 2PV45I0F0025 (SX) | 2PV45E0F0025 (SX) | 2PV45I0F0025 (SX) |
|  |  |  |  |  |  |  |  |  |  |  |  | 2PV90E0F0005 (CX) | 2PV90I0F0005 (CX) |
| 2 | DA0L 007 | JOINING PROFILE | PVC IMAP PROFILE | 2PV0650F0004 | 2PV1200F0004 | 2PV2000F0004 | 2PV2500F0004 | 2PV3000F0004 | 2PV3600F0004 | 2PV45E0F0014 (DX) | 2PV45I0F0014 (DX) | 2PV45E0F0014 (DX) | 2PV45I0F0014 (DX) |
|  |  |  |  |  |  |  |  |  |  | 2PV45E0F0024 (SX) | 2PV45I0F0024 (SX) | 2PV45E0F0024 (SX) | 2PV45I0F0024 (SX) |
|  |  |  |  |  |  |  |  |  |  |  |  | 2PV90E0F0004 (CX) | 2PV90I0F0004 (CX) |
| 3 | P0391 | BLACK GLASS GUM LEDGE PROFILE P0391 |  | 4180403 |
| 4 | DA0L 003 | BUMPER RAIL CUT MOD 2380 | PVC ANTI-CRASH PROFILE | 2PV0650F0001 | 2PV1200F0001 | 2PV2000F0001 | 2PV2500F0001 | 2PV3000F0001 | 2PV3600F0001 | 2PV45E0F0011 (DX) | 2PV45I0F0011 (DX) | 2PV45E0F0011 (DX) | 2PV45I0F0011 (DX) |
|  |  |  |  |  |  |  |  |  |  | 2PV45E0F0021 (SX) | 2PV45I0F0021 (SX) | 2PV45E0F0021 (SX) | 2PV45I0F0021 (SX) |
| 5 | TT0L 004 | BUMPER RAIL HOOK BRACKET | SHEET 15/10 | 6FI1250F0008 |
| 6 | DA0L 001 | FRONTAL SUPPORT BRACKET | SHEET 15/10 | 6PV1200F0002 | 6PV1200F0002 (DX) | 6PV1200F0002 | 6PV1200F0002 (DX) |
|  |  |  |  |  | 6PV1200F0003 (SX) |  | 6PV1200F0003 (SX) |

  - INTERNAL FINISH

2.1 DISPLAY PLATE

2.2 UNDERSTORAGE DOOR

2.3 WORKING TABLE

2.4 EVAPORATOR

2.5 FAN HOLDER

2.6 INTERNAL FINISH

2.1 DISPLAY PLATE AND UNDERPLATE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 654 | 1190 | 1785 | 2380 | 2975 | 3570 | 45 E | 45 I | 90 E | 90 I |
| 1 | ET0K 002 | UNDERPLATE 591 | PLAST. SHEET 6/10 |  | 6BV1200A2003 | 6BV1200A2003 | 6BV1200A2003 | 6BV1200A2003 | 6BV1200A2003 |  |  |  |  |
| 2 | ET0K 008 | PLATE REINFORCEMENT | PLAST. SHEET 8/10 |  | 6BV1200A2004 | 6BV1200A2004 | 6BV1200A2004 | 6BV1200A2004 | 6BV1200A2004 |  |  |  |  |
| 3 | ET0K 007 | PLATE MOD. LOWE NSF | PLAST. SHEET 8/10 | 2PV0650A0001 | 6DV1200A2301 | 6DV1200A2301 | 6DV1200A2301 | 6DV1200A2301 | 6DV1200A2301 | 6PV45E0A0021 (DX) | 6PV45I0A0011 (DX) | 6PV45E0A0021 (DX) | 6PV45I0A0021 (DX) |
|  |  |  |  | 2PV0650A0002 |  |  |  |  |  | 6PV45E0A0022 (SX) | 6PV45I0A0012 (SX) | 6PV45E0A0022 (SX) | 6PV45I0A0022 (SX) |

2.2 UNDERSTORAGE DOOR AND HINGES

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 654 | 1190 | 1785 | 2380 | 2975 | 3570 | 45 E | 45 I | 90 E | 90 I |
| 1 | EEE0 100 | DOOR | PST |  | 4331806 |  |  |  |  |
| 2 |  | HINGE 1 | PVC |  | 4330902 |  |  |  |  |

2.3 WORKING TABLE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 654 | 1190 | 1785 | 2380 | 2975 | 3570 | 45 E | 45 I | 90 E | 90 I |
| 1 | DA0H 008 | WORKING TABLE | STAINLESS STEEL AISI304 | 6PV065010002 | 6PV120010002 | 6PV200010002 | 6PV250010002 | 6PV300010002 | 6PV360010002 | 2PV45E010000 | 2PV45I010021 | 2PV90E010000 | 2PV45I010021 |
| 2 | TT0C 002 | THERMOMETER-HOLDER | STAINLESS STEEL AISI304 15/10 | 6FI125020007 |  |  |  |  |
| 3 |  | DIGITAL THERMOMETER CC10030000-A |  | 4131307 |

2.4 EVAPORATOR

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 654 | 1190 | 1785 | 2380 | 2975 | 3570 | 45 E | 45 I | 90 E | 90 I |
| 1 | ET0F 001 | EVAPORATOR VS-V | COOPER TUBES - ALUMINIUM SHEET. | 4222005 | 4222110 | 4222111 | 4222112 | 4222113 | 4222114 | 4222005 |
| 2 | ET0F 004 | FAN ASSISTED EVAPORATOR CLOSURE | SHEET 5/10 |  | 6BV120042001 | 6BV200042001 | 6BV250042001 | 6BV300042001 | 6BV360042001 |  |  |  |  |
| 3 | ET0F 002 | EVAPORATOR LIQUID SEPARATOR | WORKED COOPER TUBES | 5025605 |

2.4.1 EVAPORATOR WITH VALVE POSITION

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 654 | 1190 | 1785 | 2380 | 2975 | 3570 | 45 E | 45 I | 90 E | 90 I |
| 1 | ET0F 010 | SUCTION TUBE FOR VALVE SYSTEM | COPPER TUBE Ø8×10 | 4272425 |
| 2 | ET0F 010 | FAIR-LEAD Ø22 |  |  | 4113102 |  |  |  |  |
| 3 | ET0F 009 | EVAPORATOR-VALVE TUBE | COPPER TUBE Ø10×12 |  | 4272420 |  |  |  |  |
| 4 | ET0F 009 | PIPE UNION 1/2 SAE Ø12 |  |  | 4272420 |  |  |  |  |
| 5 |  | VALVE |  | 4251312 |
| 6 | ET0F 008 | DELIVERY SIDE TUBE FOR VALVE SYSTEM | COPPER TUBE Ø6×8 | 4272415 |
| 7 |  | PIPE UNION 3/8SAE Ø8 |  | 4272415 |
| 8 |  | DRAIN d32 h60 | ABS | 4102125 |
| 9 | DA0G 020 | EVAPORATOR COVER | PLAST. SHEET 6/10 | 4101230 | 6PV120040008 | 6PV200040008 | 6PV250040008 | 6PV300040008 | 6PV360040008 | 6PV45E040011 | 6PV45I040011 | 4101230 | 4101230 |
| 10 | ET0F 001 | EVAPORATOR VS-V | COPPER TUBE - ALU. SHEET | 4222005 | 4222110 | 4222111 | 4222112 | 4222113 | 4222114 | 4222005 |

2.4.2 EVAPORATOR POSITION ON MODULE WITH CAPILLARY SYSTEM

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 654 | 1190 | 1785 | 2380 | 2975 | 3570 | 45 E | 45 I | 90 E | 90 I |
| 1 | ET0F 002 | EVAPORATOR LIQUID SEPARATOR | WORKED COPPER TUBE | 5025605 |
| 2 | ET0F 003 | SUCTION TUBE |  | 4272425 |
| 3 | ET0F 003 | CAPILLARY TUBE | CAPILLARY | 4260203 (1.2x2.40 ) |
|  |  |  |  | 4260204 (1.4x2.60) |
| 4 | ET0F 003 | TAPE 50×25 | ALUMINIUM MONOADHESIVE | 8334325 |
| 5 | ET0F 003 | ANTICONDENSATE | INSULATING SPONGE 6×12 | 4270502 |
| 6 | DA0G 020 | EVAPORATOR COVER | PLAST. SHEET 6/10 | 4101230 | 6PV120040008 | 6PV200040008 | 6PV250040008 | 6PV300040008 | 6PV360040008 | 6PV45E040011 | 6PV45I040011 | 4101230 | 4101230 |
| 7 | ET0F 001 | EVAPORATOR VS-V | TUBES COPPER-ALU. SHEET | 4222005 | 4222110 | 4222111 | 4222112 | 4222113 | 4222114 | 4222005 |

2.5 FANS HOLDER

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 654 | 1190 | 1785 | 2380 | 2975 | 3570 | 45 E | 45 I | 90 E | 90 I |
| 1 | DA0G 020 | EVAPORATOR COVER | PLAST. SHEET 6/10 | 4101230 | 6PV120040008 | 6PV200040008 | 6PV250040008 | 6PV300040008 | 6PV360040008 | 6PV45E040011 | 6PV45I040011 | 4101230 | 4101230 |
| 2 | DA0G 017 | RIGHT STOPPER EVAPORATOR COVER | PLAST. SHEET 6/10 |  | 6PV120040006 |  |  |  |  |
| 3 | ET0G 011 | FANS COVER | IRON SHEET 6/10 |  | 6BV120042012 |  |  |  |  |
| 4 | ET0G 008 | FANS HOLDER | IRON SHEET 6/10 |  | 6BV120042011 | 6BV200042011 | 6BV250042011 | 6BV300042011 | 6BV360042011 |  |  |  |  |
| 5 |  | SHUNT BOX 70 mm | PLAST. INSULATING MAT. GW |  | 4115401 |  |  |  |  |
| 6 |  | SHUNT BOX COVER 70 mm | PLAST. INSULATING MAT. GW |  | 4115401 |  |  |  |  |
| 7 | DA0G 017 | LEFT STOPPER EVAPORATOR COVER | PLAST. SHEET 6/10 |  | 6PV120040007 |  |  |  |  |
| 8 |  | MOTORFAN |  | 4240501 |
| 9 |  | FAN |  | 4249926 |

2.6. INTERNAL FINISH

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 654 | 1190 | 1785 | 2380 | 2975 | 3570 | 45 E | 45 I | 90 E | 90 I |
| 1 | ET0A 042 | RIGHT BODY HEAD | PLAST. SHEET 6/10 | 6BV120042015 | 6PV45E040029 | 6PV45E040009 |
| 2 |  | DRAIN NUT d32 | ABS | 4102125 |
| 3 |  | DRAIN d32 | ABS | 4102125 |
| 4 | ET0G 001 | FRONT RIGHT BRACKET FROM SERVICE SIDE | STAINLESS STEEL AISI 304 15/10 | 6BV120042002 |
| 5 | DA0G 001 | FRONT UPRIGHT SUCTION GRID | PLAST. SHEET 6/10 | 2PV065040003 | 6PV45E040083 | 6PV45I040083 | 2PV45E040043 | 2PV45I040043 |
| 6 | DA0G 002 | SUCTION GRID CLOSURE | STAINLESS STEEL AISI 304 6/10 | 6PV065040004 | 6PV120040004 | 6PV200040004 | 6PV250040004 | 6PV300040004 | 6PV360040004 | 6PV45E040104 | 6PV45I040084 | 6PV45E040044 | 6PV45I040044 |
| 7 | ET0G 001 | FRONT BRACKET – LEFT FROM SERVICE SIDE | STAINLESS STEEL AISI 304 15/10 | 6BV120042003 |
| 8 | ET0A 042 | LEFT BODY HEAD | PLAST. SHEET 6/10 | 6BV120042016 | 6PV45E040030 | 6PV45E040010 |
| 9 | ET0U 001 | MULTIPLEXING BRACKET | STAINLESS STEEL AISI 304 30/10 | 4282119 |
| 10 | ET0G 018 | AIR CHANNEL BAFFLE | PLAST. SHEET 6/10 | 6BV065042014 | 6BV120042014 | 6BV200042014 | 6BV250042014 | 6BV300042014 | 6BV360042014 | 6PV45E040012 | 6PV45I040012 | 6PV45E040012 | 6PV45I040012 |
| 11 | DA0G 053 | AIR OUTLET GRID MOD. FAN ASSISTED | PLAST. SHEET 8/10 | 2PV065040005 | 2PV120040005 | 2PV200040005 | 2PV250040005 | 2PV300040005 | 2PV360040005 | 6PV45E040085 (DX) | 6PV45I040085 (DX) | 2PV90E040005 | 2PV90I040005 |
|  |  |  |  |  |  |  |  |  |  | 6PV45E040105 (SX) | 6PV45I040105 (SX) |  |  |
| 12 | DA0G 052 | LEFTBACK BRACKET FROM SERVICE SIDE | IRON SHEET 15/10 | 6BV120042002 |
| 13 | DA0G 052 | RIGHTBACK BRACKET FROM SERVICE SIDE | IRON SHEET 15/10 | 6PV120040001 |

- DECORATION – FRAME – DRAIN

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 654 | 1190 | 1785 | 2380 | 2975 | 3570 | 45 E | 45 I | 90 E | 90 I |
| 1 | DA0J 001 | UNDER-ENDWALL PANEL | PLAST. SHEET 6/10 | 6PV120080033 |
| 2 | ET0B 007 | LOADING SLIDE LINEAR MOD 250 | SPRUCE WOOD | 4321223 | 4321219 | 4321220 | 4321221 | 4321222 | 4321223 | 4321295 |
|  |  |  |  |  |  |  |  |  |  | 4321296 |
| 3 | DA0J 002 | FRONTAL DECORATION PANEL MOD 2380 | PLAST. SHEET 6/10 | 2PV065070011 | 2PV120070011 | 2PV200070011 | 2PV250070011 | 2PV300070011 | 2PV360070011 |  |  |  |  |
| 4 |  | BLACK ‘MINIGONNA’ PROFILE |  | 4161903 | 4161901 | 4161903 | 4161901 | 4161902 | 4161903 | 4161901 | 4161902 | 4161901 | 4161902 |
| 5 | DA0B 006 | LOADING SLIDE BLOCKING BRACKET | IRON SHEET 30/10 | 4282833 |
| 6 | ET0B 001 | FRAME | IRON 360 | 4280114 |
| 7 | ET0J 002 | SLOT PANEL FOR COMPRESSOR AREA | PLAST. SHEET 6/10 | 6BV120072009 | 6BV120072010 | 6BV120072010 | 6BV120072010 | 6BV120072010 | 6BV120072010 |  |  |  |  |
| 8 | ET0J 003 | PIERCED BACK PANEL | PLAST. SHEET 6/10 |  | 6BV120072029 | 6BV200072029 | 6BV250072029 | 6BV300072029 | 6BV360072029 | 6PV45E070004 | 6PV45I070004 | 6PV45E070002 | 6PV45I070002 |
| 9 |  | DRAIN TUBE | PVC | 4180815 |

LOADING SLIDE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 654 | 1190 | 1785 | 2380 | 2975 | 3570 | 45 E | 45 I | 90 E | 90 I |
| 1 | ET0B 007 | LOADING SLIDE LINEAR MOD 250 | SPRUCE WOOD | 4321223 | 4321219 | 4321220 | 4321221 | 4321222 | 4321223 | 4321295 |
|  |  |  |  |  |  |  |  |  |  | 4321296 |
| 2 | ET0B 003 | SIDE MEMBER FOR COMPRESSOR AREA | IRON SHEET 15/10 |  | 6BV120002016 |  |  |  |  |
| 3 |  | FEET BOLT M12 | GALVANIZED STEEL | 8293413 |
| 4 | DA0B 006 | LOADING SLIDE BLOCKING BRACKET | IRON SHEET 30/10 | 4282833 |
| 5 |  | NUT M14 | GALVANIZED IRON |  |

DRAIN

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 654 | 1190 | 1785 | 2380 | 2975 | 3570 | 45 E | 45 I | 90 E | 90 I |
| 1 |  | BASIN | PVC | 4100105 | 4100102 | 4100109 | 4100105 |  |  |
| 2 | ET0I 001 | DRAIN BASIN SUPPORT | SHEET 10/10 | 6BV120052001 | 6BV120052001 | 6BV120052001 | 6BV120052001 | 6BV120052001 | 6BV120052001 |  |  |  |  |
| 3 |  | DRAIN TUBE | PVC | 4180815 |
| 4 |  | PIPE D32 | ABS | 4102125 |
| 5 |  | PIPE NUT D32 | ABS | 4102125 |
| 6 |  | METALLIC CLIP FOR TUBE D40 | GALVANIZED STEEL | 8298201 |

- CONTROL BOARD

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 654 | 1190 | 1785 | 2380 | 2975 | 3570 | 45 E | 45 I | 90 E | 90 I |
| 1 | ET0C 003 | ELECTRONIC FRONT CONTROL PANEL | PLAST. SHEET 6/10 |  | 6BV120020118 |  |  |  |  |
| 2 | ET0C 001 | BALLAST HOLDER | IRON SHEET 10/10 |  | 6BV120020182 |  |  |  |  |
| 3 |  | ELECTRONIC CONTROL ELIWELL |  | 4131712 |  |  | 4131712 |
| 4 |  | RELE FINDER 66.82.8.230.0300 |  | 4111012 |
| 5 |  | TRANSFORMER 12 V |  | 4131623 |  |  | 4131623 |
| 6 |  | END TERMINAL PA81 |  | 4113703 |
| 7 |  | BALLAST |  |  | 15 W 4115106 | 30 W 4115103 | 58 - 65 W 4115105 | 30 W 4115103 | 36 - 40 W 4115104 | 58 - 65 W 4115105 | 18 - 20 W 4115102 | 18 - 20 W 4115102 | 18 - 20 W 4115102 |
| 8 |  | TERMINAL BOARD PA 80 |  | 4113702 |
| 9 |  | BLACK BIPOLAR SWITCH |  | 4113518 |  |  | 4113518 |
| 10 | ET0C 004 | CONTROL BOARD PLATE |  |  | 4335648 |  |  |  |  |
| 11 |  | PLUG |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  | FEED CABLE |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  | STOPPER FAIRLEAD HEYCO 6N3-4 | PVC | 8291719 |  |  | 8291719 |

5. COMPLETE SIDE WALL SELF - SERVICE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 654 | 1190 | 1785 | 2380 | 2975 | 3570 | 45 E | 45 I | 90 E | 90 I |
| 1 | DA0M 001 | ENDWALL | ABS | 4104027 (DX) |
|  |  |  |  | 4104028 (SX) |
| 2 |  | GLASS BLOCKING 1 | PVC | 4100313 |
| 3 |  | GLASS BLOCKING 2 | PVC | 4100313 |
| 4 | DA0M 003 | SIDE GLASS SELF SERVICE | FLOAT 6mm TRANSPARENT | 4190325 |
| 5 | DA0J 001 | UNDER-ENDWALL PANEL | PLAST. SHEET 6/10 | 6PV120080003 |
| 6 | ET0M 004 | FRONTAL GLASS ENDWALL BRACKET SELF - SERVICE | STAINLESS STEEL AISI304 15/10 | 6DV120032001 (DX) |
|  |  |  |  | 6DV120032002 (SX) |

===========================================

Regione Gabannone, 4 – Zona Industriale

15030 TERRUGGIA (AL) ITALY

Tel.     +39 0142 433711

Fax.    +39 0142 433700