EXPLODED VIEW

VENEZIA 2500 H225 P110 F350

EXPLODED VIEW

GENERAL SPLITTING UP

- TOP FINISH

- INTERNAL FINISH

- COMPLETE SIDE WALL

- FRAME – DRAIN – CONTROL BOARD

- FRONTAL FINISH

- PLATE

- SHELF

- TOP FINISH

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | 1F-018 | PAINTED TOP ALUMINIUM PROFILE 2501 | ALUMINIUM PROFILE | 2W-250070001 |
| 2 | 1G-032 | FRONT CURTAIN CLOSURE 2500 PAINTED | GALVANIZED SHEET 10/10 | 2A-250040030 |
| 3 | 1H-031 | CURTAIN HOLDER 2500 | GALVANIZED SHEET 10/10 | 6A-250040028 |
| 4 |  | LAMP HOLDER 249 TS "UL" |  | 4114727 |
| 5 | 1G-033 | LAMPS HOLDER P 87 100 PAINTED | GALVANIZED SHEET 10/10 | 2W-250020062 |
| 6 | 1A-086 | TOP BRACKET | GALVANIZED SHEET 20/10 | 6A-125040027 (SX) |
|  |  |  |  | 6A-125040026 (DX) |
| 7 |  | CONTROLLER XR40CX |  | 4131739 |
| 8 | 15C004 | AIR OUTLET CURTAIL STEP 2500 PAINTED | GALVANIZED SHEET | 2A-250040024 |
| 9 | 1G-004 | ELECTRIC PARTS TOP SUPPORT 2500 - 3750 | GALVANIZED SHEET SKIMPAS 7/10 | 6V-250020008 |
| 10 |  | TERMINAL BOARD |  |  |
| 11 | 1C-023_REV1 | TOP AIR CEILING DUCT P110 PAINTED | PLAST. SHEET 8/10 | 2V-250B40068 |
| 12 | 1C-028 | HONEY COMB 1250X80 | POLYCARBONATE | 2V-125B40021 |
| 13 | 1F-020 | HONEY COMB PAINTED SUPPORT | PAINTED SHEET | 2V-250B40036 |
| 14 |  | UNIVERSAL STARTER FS 11 |  | 4116001 |
| 15 |  | NEON F 36 T8 CW WHITE D.26 L 1200 |  | 4114304 |
| 16 |  | LAMPS HOLDER + STARTER HOLDER 249 TCR "UL" |  | 4114726 |
| 17 | 1G-002 | UNFINISHED FRONT PANEL FOR CONTROL P. A | IRON SHEET 10/10 | 6V-125020027 |
| 18 |  | BLACK BIPOLAR SWITCH R515KKFTOFA BOARD |  | 4113524 |
| 19 | 1G-031 | TOP ELECTRIC PARTS COVER 1250 | GALVANIZED SHEET 7/10 | 6A-125020003 |
| 20 |  | TRANSFORMER 12/230 3VA FOR 2 INSTRUMENTS |  | 4131623 |
| 21 |  | BALLAST 36 - 40 W |  | 4115104 |
| 22 |  | EMISSION SUPPRESION FILTER |  | 4112402 |
| 23 | 1G-003 | EL ELECTROMECHANICAL AND ELECTRONIC BALLASTS HOLDER | GALVANIZED SHEET 10/10 |  |

- INTERNAL FINISH

2.1 INTERNAL FINISH

2.2 RACK

2.3 EVAPORATOR

2.4 FANS HOLDER

2.1 INTERNAL FINISH  DAIRY PRODUCTS

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | 1C-014_REV1 | AIR OUTLET TOP PANEL H225 PAINTED | GALVANIZED SHEET 7/10 | 2W-125040113 |
| 2 | 1C-019_REV1 | AIR OUTLET BOTTOM PANEL H205 - 225 | GALVANIZED SHEET 7/10 | 2W-125040014 |
| 3 | 1A-024 | AIR OUTLET PANEL SPACER | GALVANIZED SHEET SKIMPAS 7/10 | 6V-125040003 |
| 4 | 1C-042 | BAFFLE BRACKET | GALVANIZED SHEET 10/10 | 6V-125B40038 (SX) |
|  |  |  |  | 6V-125B40037 (DX) |
| 5 | 1C-043 | AIR BAFFLE 1250 | GALVANIZED SHEET 10/10 | 6V-125B40039 |
| 6 | 1A-023 | PLATE SUPPORT BRACKET PART.A | GALVANIZED SHEET 15/10 | 6V-125040001 |
| 7 | 15D003 | AIR SHOOTING MASK 1248 PAINTED | GALVANIZED SHEET 15/10 | 2A-125040025 |
| 8 | 1D-004 | PLATE BACK SUPPORT INTERNAL BASIN PAINTED | IRON SHEET 10/10 | 2V-250040023 |
| 9 | 1C-023_REV1 | TOP AIR DUCT CEILING P110 PAINTED | GALVANIZED SHEET 10/10 | 2V-250B40068 |

INTERNAL FINISH VEGETABLES / FRUITS - MEAT

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | 1C-023_REV1 | TOP AIR DUCT CEILING P110 PAINTED | GALVANIZED SHEET 10/10 | 2V-250B40068 |
| 2 | 1C-014_REV1 | AIR OUTLET TOP PANEL H225 PAINTED | GALVANIZED SHEET 7/10 | 2W-125040113 |
| 3 | 1C-019_REV1 | AIR OUTLET BOTTOM PANEL H205 - 225 | GALVANIZED SHEET 7/10 | 2W-125040014 |
| 4 | 1A-024 | AIR OUTLET PANEL SPACER | GALVANIZED SHEET SKIMPAS 7/10 | 6V-125040003 |
| 5 | 1D-004 | PLATE BACK SUPPORT INTERNAL BASIN PAINTED | IRON SHEET 10/10 | 2V-250040023 |
| 6 | 1C-042 | BAFFLE BRACKET | GALVANIZED SHEET 10/10 | 6V-125B40038 (SX) |
|  |  |  |  | 6V-125B40037 (DX) |
| 7 | 1C-043 | AIR BAFFLE 1250 | GALVANIZED SHEET 10/10 | 6V-125B40039 |
| 8 | 1A-023 | PLATE SUPPORT BRACKET PART.A | GALVANIZED SHEET 15/10 | 6V-125040001 |
| 9 | 15D003 | AIR SHOOTING MASK 1248 PAINTED | GALVANIZED SHEET 15/10 | 2A-125040025 |
| 10 | 2D-001 | MIRROR GLASS MM5 VENEZIA OF FRUITS | REFLECTING FLOAT Thickness 5mm | 4191208 |
|  | 3D-001 | MIRROR GLASS MM5 VENEZIA C MEAT |  | 4191209 |
| 11 | 2D-003_REV1 | INFERIOR SUPPORT BRACKET MIRROR PAINTED | GALVANIZED SHEET 10/10 | 2V-250040402 |
| 12 | 2D-002_REV1 | TOP SUPPORT MIRROR PAINTED | GALVANIZED SHEET 15/10 | 2V-125040401 |
| 13 | 2B-001 | TECHNIQUE ZONE COVER VF M |  | 4334316 |

2.2 LEFT RACK

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | 1A-078-REV2 | RACK CEILING BRACKET P110 | GALVANIZED SHEET 25/10 | 6V-125C40055 (SX) |
|  |  |  |  | 6V-125C40054 (DX) |
| 2 | 1A-075-REV2 | LATERAL RACK H225 PAINTED | GALVANIZED SHEET 25/10 | 2V-125C40149 (SX) |
|  |  |  |  | 2V-125C40147 (DX) |
| 3 | 1A-079-REV2 | LATERAL STOPPER P110 | GALVANIZED SHEET 25/10 | 6V-125C40103 (SX) |
|  |  |  |  | 6V-125C40102 (DX) |
| 4 |  | WHITE STOPPER DP500 | PVC | 4333114 |

CENTRAL RACK

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | 1A-078-REV2 | RIGHT RACK CEILING BRACKET P110 | GALVANIZED SHEET 25/10 | 6V-125C40054 |
| 2 | 1A-075-REV2 | LATERAL RACK H225 PAINTED | GALVANIZED SHEET 25/10 | 2V-125C40147 |
| 3 | 1A-010_REV1 | PLATE SUPPORT BACK BRACKET | GALVANIZED SHEET 25/10 | 6V-187C40034 |
| 4 | 1A-085_REV2 | RIGHT CENTRAL RACK BRACKET | GALVANIZED SHEET 25/10 | 6V-187C40032 |
| 5 | 1A-085_REV2 | LEFT CENTRAL RACK BRACKET | GALVANIZED SHEET 25/10 | 6V-187C40033 |
| 6 | 1A-075-REV2 | LATERAL RACK H225 PAINTED | GALVANIZED SHEET 25/10 | 2V-125C40149 |
| 7 | 1A-078-REV2 | LEFT RACK CEILING BRACKET P110 | GALVANIZED SHEET 25/10 | 6V-125C40055 |

2.3  EVAPORATOR

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | 1C-007_REV1 | EVAPORATOR COVER | GALVANIZED SHEET SKIMPAS 7/10 | 6V-250B40006 |
| 2 |  | VALVE THERMOSTAT.R404 TES 2 CART. |  | 4251313 |
| 3 |  | SUCTION TUBE |  |  |
| 4 |  | EQUALIZATION TUBE |  |  |
| 5 |  | COLLECTOR |  |  |
| 6 |  | VALVE BULB |  |  |
| 7 | 1C-039 | EVAPORATOR "VENEZIA" L.2500 35X35 | COOPER TUBE - ALUMINIUM SHEETS | 4220162 |
| 8 | 1C-008 | EVAPORATOR HEAD | GALVANIZED SHEET SKIMPAS 7/10 | 6V-125040008 (SX) |
|  |  |  |  | 6V-125040007 (DX) |

2.4 FANS HOLDER

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 |  | SHUNT BOX D.80 GEWISS 44002 |  | 4115402 |
| 2 | 0BP0201 | PROTECTION GRID D.200 CO. | PVC |  |
| 3 |  | ALUMINIUM FAN D.200 28° ASP TL |  | 4249922 |
| 4 |  | MOTORFAN 10W – D. 200 MM A707 |  | 4241013 |
| 5 | 1C-009_REV1 | FANS HOLDER | GALVANIZED SHEET SKIMPAS 7/10 | 6V-250040010 |
| 6 | 1C-010 | RIGHT FANS HOLDER HEAD | GALVANIZED SHEET SKIMPAS 7/10 | 6V-125040011 |
| 7 | 1C-010 | LEFT FANS HOLDER HEAD | GALVANIZED SHEET SKIMPAS 7/10 | 6V-125040012 |

- PANORAMIC SIDE WALL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 |  | VERTICAL SKIMMED PANORAMIC SIDE WALL RISER VENEZIA H225 |  | 2W-125080902 |
| 2 | 1B-014 | LATERAL SIDE WALL PAINTED GR. P110 | PUR D.400 | 4350917 (SX) |
|  | 1B-015 |  |  | 4350916 (DX) |
| 3 | 1B-009 | LAT. BASE FINISH P110 F350 | PLAST. SHEET 8/10 | 6V-125080070 |
| 4 | 1B-055 | TROLLEY STOPPER SPRING PAN. P100-110 | GALVANIZED SHEET SKIMPAS 7/10 | 6V-125080815 |
| 5 | 1B-053 | LAT. TROLLEY STOPPER PROFILE P110 | SHOCK-RESISTANT PVC | 2V-125080866 |
| 6 | 1B-011 | LAT. BASE PANORAMIC SIDE WALL P110 F350 | PLAST. SHEET 8/10 | 6V-125080889 (SX) |
|  |  |  |  | 6V-125080869 (DX) |
| 7 | 1B-046 | LATERAL MINIGONNA PROFILE P110 | BLACK MINIGONNA PROFILE IM32 | 2V-125080057 |
| 8 | 1B-129 | TROLLEY STOPPER ANGULAR | NYLON | 4351705 |
| 9 | 1B-025_REV1 | SIDE WALL GLASS TE. S. 4-12-4 P110 H225 | SILK-SCREEN PRINTED GLASS | 4190498 |
| 10 | 1B-027_REV1 | FRONT GLASS CLOSURE H225 | PLAST. SHEET 6/10 | 6W-125080912 |
| 11 | 1B-141_REV1 | SIDE WALL HEAD INJECTION VE-GE |  | 4105425 (SX) |
|  |  |  |  | 4105424 (DX) |
| 12 | 15B011 | SUPPORT GLASS BRACKET | GALVANIZED SHEET 10/10 | 6A-125081214 |

MIRROR SIDE WALL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | 1I-009 | MIRROR GLASS DIVIDER H2250 P1000-1100 |  | 4190138 |
| 2 | 1B-054 | LATERAL BASE SUPPORT BRACKET F350 |  | 6V-125080022 (SX) |
|  |  |  |  | 6V-125080021 (DX) |
| 3 | 1B-009 | LATERAL BASE FINISH P110 F350 | PLAST. SHEET 8/10 | 6V-125080070 |
| 4 | 1B-046 | LATERAL MINIGONNA PROFILE P110 | BLACK MINIGONNA PROFILE IM32 | 2V-125080057 |
| 5 | 1B-031 | LATERAL BASE BLIND SIDE WALL P110 F350 | PLAST. N12SM 8/10 | 6V-125080066 (SX) |
|  |  |  |  | 6V-125080056 (DX) |
| 6 | 1B-044-REV1 | TROLLEY STOPPER HEAD BLIND AND MIRRORED PAINTED 7037 |  | 2V-125080010 |
| 7 |  | U FRONT FINISH B. -M. H225 P100-110 1B-050 | GREY PLAST. N1 6/10 | 6V-125080105 |
| 8 | 1B-141_REV1 | SIDE WALL HEAD INJECTION VE-GE |  | 4105425 (SX) |
|  |  |  |  | 4105424 (DX) |

- FRAME

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | 1A-048 | DRAIN VE 2500 |  | 2V-250050000 |
| 2 | 1A-001 | GALVANIZED FRAME VENEZIA "1100" |  | 4280235 |
| 3 | 1L-001 | WOOD SLIDE VENEZIA 2490 X 80 |  | 4321306 |
| 4 | 1E-003 | FRONT. BASE SUPPORT BRACKET F350 |  | 6V-125070008 |
| 5 | 1E-005 | MINIGONNA PROFILE | BLACK MINIGONNA PROFILE ATLANTA L. 2500 | 2V-250070011 |
| 6 | 1E-004 | FRONT. BASE FINISH F350 | PLAST. N12SM 8/10 | 6V-250070007 |
| 7 | 1E-002 | FRONT BASE F350 | PLAST. N12SM 8/10 | 6V-250070009 |
| 8 |  | CONTROL BOARD |  |  |

DRAIN

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 |  | DRAIN 10124 1'1/2 GAS L.75 MM |  | 4102132 |
| 2 |  | "ALPHA" CURVE D40 2431 FINISH |  | 4102164 |
| 3 |  | HTB D.40 - 45° ELBOW "ALPHA" 802 |  | 4102168 |
| 4 |  | HTB D.40 - 87° ELBOW |  | 4102157 |
| 5 |  | NIPREN TUBE PP HTEM D.40 MT1,5 800 |  | 4102141 |
| 6 |  | TEE FINISH "ALPHA" 40 2403 SMOOTHED |  | 4102166 |

WOOD SLIDE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | 1L-005 | BRACKET FOR MOVEMENT SLIDE | IRON SHEET 30/10 | 4282799 |
| 2 |  | RING 12 X 36 | GALVANIZED | 8295064 |
| 3 | 1A-003 | SCREW TTQST M.12X80 GALVANIZED VENEZIA | GALVANIZED | 4331411 |
| 4 | 1L-001 | WOOD SLIDE VENEZIA 2490 X 80 | SPRUCE WOOD | 4321306 |

CONTROL BOARD  ASSEMBLY

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | 1G-021 | INFERIOR CONTROL BOARD BOX SUPPORT | GALVANIZED SHEET 10/10 | 6V-125020086 (SX) |
|  |  |  |  | 6V-125020085 (DX) |
| 2 | 1G-023 | INFERIOR CONTROL BOARD BOX | GALVANIZED SHEET 10/10 |  |
| 3 | 1G-022 | INFERIOR CONTROL BOARD COVER | GALVANIZED SHEET 10/10 | 6V-125020084 |

- FRONTAL FINISH

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | 1D-001 | FRONTAL PRICE HOLDER PROFILE LOW | WHITE AND TRANSPARENT PVC PROFILE Thickness 0.7 and 0.5 mm | 2V-2500A0008 |
| 2 | 1D-002 | FRONTAL PRICE HOLDER SUPPORT LOW | PLAST. SHEET 8/10 | 6GA1250A1015 |
| 3 | 1E-001 | LOW FRONTAL DETAIL A | GRIEY PLAST. SHEET N1 6/10 | 6V-250070002 |
| 4 | 1E-007 | GREY TROLLEY STOPPER PROFILE | SHOCK-RESISTANT PVC | 2V-250070005 |
| 5 | 1E-006 | FRONTAL TROLLEY STOPPER SPRING | GALVANIZED SHEET SKIMPAS 7/10 | 6V-125070004 |
| 6 | 1E-001 | LOW FRONTALE DETAIL B | GRIEY PLAST. SHEET N1 6/10 | 6V-125070003 |

- PLATE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | 1D-005 | PLATE P100 MOD 625 WITH HOLE, PAINTED S/D | IRON SHEET PO1 10/10 | 2V-1250A0125 |
|  | 1D-006 | PLATE P100 MOD 625 WITH HOLE, PAINTED VF C |  | 2V-1250A0005 |
| 2 | 1D-005 | PLATE P100 MOD 625 WITH OUT HOLE, PAINTED S/D | IRON SHEET PO1 10/10 | 2V-1250A0123 |
|  | 1D-006 | PLATE P100 MOD 625 WITH OUT HOLE, PAINTED VF C |  | 2V-1250A0003 |
| 3 | 1C-027 | UNDER PLATE AIR CLOSURE OMEGA | WHITE PLAST. 6/10 | 6V-1250A0006 |

- SHELF - DAIRY PRODUCTS

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | 1D-009 | PAINTED SHELF 500 1246 | IRON SHEET 10/10 | 2V-1250A0133 |
| 2 |  | CYLINDRICAL SPACER WITH HOLE DCK 66 |  | 8291723 |
| 3 | 1D-007/1 | CONSOLE FOR PAINTED SHELF 500 30/10 | IRON SHEET 30/10 | 2V-1250A0151 |
| 4 | MV364 | PRICE HOLDER PROFIL SUPPORT |  | 6GA1250A2081 |
| 5 | 1D-001 | PRICE HOLDER PROFILE SHELF | WHITE AND TRANSPARENT PVC PROFILE Thickness 0.7 and 0.5 mm | 2V-1250A0015 |

SHELF VEGETABLES/FRUITS - MEAT

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | 1D-009 | PAINTED SHELF 500 1246 | IRON SHEET 10/10 | 2V-1250A0133 |
| 2 |  | CYLINDRICAL SPACER WITH HOLE DCK 66 |  | 8291723 |
| 3 | 1D-007/1 | CONSOLE FOR PAINTED SHELF 500 30/10 | IRON SHEET 30/10 | 2V-1250A0151 |
| 4 | 1H-014 | GOODS STOP SHELFS | TRANSPARENT METHACRYLATE Thickness. 5mm | 4082012 |
| 5 | MV364 | PRICE HOLDER PROFIL SUPPORT |  | 6GA1250A2081 |
| 6 | 1D-001 | PRICE HOLDER PROFILE SHELF | WHITE AND TRANSPARENT PVC PROFILE Thickness 0.7 and 0.5 mm | 2V-1250A0015 |

===========================================

Regione Gabannone, 4 – Zona Industriale

15030 TERRUGGIA (AL) ITALY

Tel.     +39 0142 433711

Fax.    +39 0142 433700