EXPLODED VIEW

# SYNUS 90 eXternAL CORNER

GENERAL SPLITTING UP

- INTERNAL FINISH, FRONTAL DECORATION

- GLASSES SUPERSTRUCTURE

- FRAME – LOADING SLIDE – BALLAST HOLDER PANEL

1. INTERNAL FINISH, FRONTAL DECORATION

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | SF0J 003-2 | FRONTAL PANEL | GALVANIZED SHEET 7/10 | 2IV90E070001 |
| 2. |  | FRONT FINISH |  |  |
| 3. |  | EVAPORATOR |  | 2SV90E140001 |
| 4. |  | FANS HOLDER |  |  |
| 5. |  | REMOVABLE PLATE EXTERNAL CORNER |  | 2IV45E040003 (DX) |
|  |  |  |  | 2IV45E040005 (SX) |
| 6. |  | WORKING TABLE |  | 2FI90E010000 |
| 7. | TT0G008 | AIR OUTLET GRID | STAINLESS STEEL AISI304 SB+PRO 8/10 | 6FI45E040029 (DX) |
|  |  |  |  | 6FI90E040009 (CX) |
|  |  |  |  | 6FI45E040049 (SX) |
| 8. |  | BASIN INTERNAL FINISH |  |  |

### 1.1. BASIN INTERNAL FINISH

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | PP013 | BASIN STOPPER | STAINLESS STEEL AISI304 5/10 | 6PP096040001(SX) |
|  |  |  |  | 6PP096040000(DX) |
| 2. | RG034 | SIDE WALL FIXING BRACKET | IRON SHEET 15/10 | 6SV072040039(SX) |
|  |  |  |  | 6SV072040038(DX) |
| 3. | RG106 | BACK STOPPER BRACKET | IRON SHEET 15/10 | 6SV072040041(SX) |
|  |  |  |  | 6SV072040040(DX) |
| 4. | TT0G 006 | BACK GRID SUPPORT BRACKET | IRON SHEET 15/10 | 6FI125040113(SX) |
|  |  |  |  | 6FI125040112(DX) |
| 5. |  | DRAIN Ø20 | ABS | 4102101 |
| 6. |  | DRAIN NUT Ø44 | ABS | 4102106 |
| 7. |  | DRAIN Ø44 | ABS | 4102106 |
| 8. | TT0G 007 | FRONT GRID SUPPORT BRACKET | IRON SHEET 15/10 | 6FI125040115 (SX) |
|  |  |  |  | 6FI125040114 (DX) |
| 9. |  | DRAIN NUT Ø20 | ABS | 4102101 |
| 10. | SFOL 002 | GLASS REBATE PROFILE SUPPORT BRACKET | GALVANIZED SHEET 15/10 | 6IV1250F0002(SX) |
|  |  |  |  | 6IV1250F0001(DX) |
| 11. |  | DRAIN 10124 1'1/2 GAS L.75 MM | ABS | 4102132 |
| 12. | SF0J005 | FRONT PANEL SUPPORT | GALVANIZED SHEET 15/10 | 6IV45E070017 (SX) |
|  |  |  |  | 6IV45E070018 (DX) |
| 13. |  | DRAIN NUT 1'’1/2 | ABS |  |

### 1.2. FANS HOLDER

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | PP183 | FANS COVER 90° EXT. CORNER | STAINLESS STEEL AISI304 1F/2B-2F/S4 6/10 | 6PP90E040012 |
| 2. | SF0F001 | EVAPORATOR COVER 90° EXT. CORNER | STAINLESS STEEL AISI304 1F/2B-2F/S4 6/10 | 6IV90E040018 |
| 3. |  | CABLE CONNECTOR L. 1525 MM |  | 4110606 |
| 4. |  | MOTORFAN |  | 4241007 |
| 5. |  | SHUNT BOX D.65 GEWISS | PLAST INSULATING MAT. GW | 4115401 |
| 6. | SF0F001 | FRONT LATERAL EVAPORATOR COVER | STAINLESS STEEL AISI304 1F/2B-2F/S4 6/10 | 6IV90E040039 (SX) |
|  |  |  |  | 6IV90E040019 (DX) |

### 1.3. EVAPORATOR

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. |  | EVAPORATOR 720 KING V.VERN. 520 | COOPER TUBES - ALUMINIUM SHEETS | 4220301 |
| 2. |  | CAPILLARY TUBE | COOPER TUBES 1.8X3 | 4260206 |
| 3. | PP441 | COOPER D.4X6 L.75 | COOPER TUBES D.4 X 6 | 4272414 |
| 4. | PP440 | COOPER D.6 X 8 L1400 | COOPER TUBES D.6 X 8 | 4272415 |
| 5. |  | ANTICONDENSATE TUBE | INSULATING SPONGE 6 X 22 | 4270505 |
| 6. |  | VALVE BULB |  |  |
| 7. |  | PIPE UNION 3/8SAE Ø8 |  | 4272415 |
| 8. |  | WELDED VALVE THERMOSTAT.R404 TES/2 |  | 4251311 |
| 9. | SF0F001 | BACK LATERAL EVAPORATOR COVER 90° EXT. CORNER | SILVER PLATED +PLASTICIZED ALUMINIUM 20/10 | 6IV90E040021 (DX) |
|  |  |  |  | 6IV90E040041 (SX) |

### 1.4. WORKING TABLE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | PP062 | WHITE PLAST. CM2,5 "PP "90° CORNER | POLYETHYLENE Th. 25mm | 4081120 |
| 2. | PP210 | PLAST. STOPPER EXTERNAL CORNER | POLYETHYLENE Th. 18mm | 4081129 |
| 3. | PP212 | FRONT CLOSURE | STAINLESS STEEL AISI304 DEC9 BA + PRO + SATIN FINISHED 80 H435X7/10 | 6PP90E010008 |
| 4. | TT0C002 | THERMOMETER HOLDER | STAINLESS STEEL AISI304 15/10 | 6FI125020007 |
| 5. |  | DIGITAL THERMOMETER |  | 4131307 |
| 6. | PP212 | BACK CLOSURE | STAINLESS STEEL AISI304 DEC9 BA + PRO + SATIN FINISHED 80 H435X7/10 | 6PP90E010007 |
| 7. | TT0H004 | BACK LEVEL SURFACE SUPPORT | IRON SHEET 20/10 | 6FI125010011 (SX) 6FI125010009 (DX) |
| 8. | TT0H011 | BLIND WIREWAY | GREY PLAST. N1 6/10 | 6FI45E010027 (DX) |
|  |  |  |  | 6FI90E010007 (CX) |
|  |  |  |  | 6FI45E010047 (SX) |

### 1.5. FRONT FINISH

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | SF0G009 | SUCTION GRID | STAINLESS STEEL AISI304 8/10 | 6IV45E040022 (DX) |
|  |  |  |  | 6IV45E040002 (CX) |
|  |  |  |  | 6IV45E040042 (SX) |
| 2. | SF0G003 | TOP BAFFLE PROFILE | PVC | 2IV45E040021 (DX) |
|  |  |  |  | 2IV45E040001 (CX) |
|  |  |  |  | 2IV45E040041 (SX) |
| 3. | SF0G012 | LATERAL UPRIGHT STOPPER | GREY PLAST. N1 6/10 | 6IV1250F0006 (DX) |
|  |  |  |  | 6IV1250F0007 (SX) |
| 4. | SF0G002 | UPRIGHT STOPPER | GREY PLAST. N1 6/10 | 6IV90E0F0008 (DX) |
|  |  |  |  | 6IV90E0F0009 (SX) |
| 5. | SF0L 009 | FRONT PROFILE | ALUMINIUM | 2IV90E0F0003 |
| 6. |  | GUMMY INSERT PROFILE | PVC | 4180409 |

### 1.6. REMOVABLE PLATE EXTERNAL CORNER

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | SF0K003 | REMOVABLE PLATE 135° EXTERNAL CORNER | STAINLESS STEEL AISI304 SB+PRO 8/10 | 6IV45E040004 (DX) |
|  |  |  |  | 6IV45E040006 (SX) |
| 2. | CC0K006 | UNDERPLATE CLOSURE EXTERNAL CORNER | STAINLESS STEEL AISI304 1F/2B-2F/S4 5/10 | 6KV45E040005 (DX) |
|  |  |  |  | 6KV45E040006 (SX) |

2. GLASSES SUPERSTRUCTURE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | SF0D015 | HEAD GLASS | FLOAT 10 mm | 4199916 |
| 2. | SF0D024 | LEVER CLOSURE TUBE | ALUMINIUM TUBE Ø28 Th. 1.5 | 2IV90E030006 |
| 3. |  | LATERAL UPRIGHT |  |  |
| 4. |  | GLASS FIXING PANES CLAMP |  | 2IV90E030007 |
| 5. |  | CENTRAL UPRIGHT |  |  |

### 2.1. LATERAL GLASS UPRIGHT

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | TT0D002 | CURVED FRONT UPRIGHT | ALLOY 6060 T5 | 4351209 |
| 2. | RG072 | BACK GLASS UPRIGHT PIN | STEEL BAR Ø15 | 4140070 |
| 3. |  | PISTON 2 SNODI LIFT-O-MAT 5425VA 400N |  | 4144069 |
| 4. |  | WHITE STOPPER DP500 | PLASTIC | 4333114 |
| 5. | TT0D 013 | GLASS UPRIGHT PIN | STEEL BAR Ø15 | 4140088 |
| 6. |  | CAGE NUT M4 |  |  |
| 7. | SF0D022 | COVER SUPPORT, PAINTED | GALVANIZED SHEET 20/10 | 2IV45E030003 (DX) |
|  |  |  |  | 2IV45E030004 (SX) |
| 8. | SF0D017 | LEVER COVER PAINTED 7035 | GALVANIZED SHEET 15/10 | 2IV125030003 (DX) |
|  |  |  |  | 2IV125030004 (SX) |
| 9. |  | RUBBER BUFFER |  | 4332602 |
| 10. |  | BOLT TCEI M8X30 | GALVANIZED STEEL |  |
| 11. |  | GROWER M8 |  |  |
| 12. | ECAV 018 | PISTON FRONT PIN | STAINLESS STEEL | 4140054 |
| 13. |  | BUSH |  |  |
| 14. | SF0D011 | LEVER FOR EXTERNAL CORNER | IRON SHEET 30/10 | 4282824 (DX) |
|  |  |  |  | 4282825 (SX) |
| 15. | SF0D019 | LEVER SUPPORT EXTERNAL CORNER |  | 4282829 (DX) |
|  |  |  |  | 4282830 (SX) |

### 2.2. CENTRAL GLASS UPRIGHT

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | TT0D002 | CURVED FRONT UPRIGHT | ALLOY 6060 T5 | 4351209 |
| 2. | RG072 | BACK GLASS UPRIGHT PIN | STEEL BAR Ø15 | 4140070 |
| 3. |  | PISTON 2 SNODI LIFT-O-MAT 5425VA 400N |  | 4144069 |
| 4. | SF0D020 | CENTRAL LEVER SUPPORT 90º EXT. CORNER | ALLOY 6060 T5 | 4282831 |
| 5. |  | WHITE STOPPER DP500 | PLASTIC | 4333114 |
| 6. |  | CAGE NUT M4 |  |  |
| 7. | SF0D023 | CENTRAL LEVER COVER SUPPORT 90º EXT. CORNER | GALVANIZED SHEET 20/10 | 2IV90E030016 |
| 8. | SF0D011 | LEVER FOR EXTERNAL CORNER | IRON SHEET 30/10 | 4282824 (DX) |
|  |  |  |  | 4282830 (SX) |
| 9. |  | BUSH |  |  |
| 10. | ECAV018 | PISTON FRONT PIN | STAINLESS STEEL | 4140054 |
| 11. |  | GROWER M8 |  |  |
| 12. |  | BOLT TCEI M8X30 | GALVANIZED STEEL |  |
| 13. |  | RUBBER BUFFER |  | 4332602 |
| 14. | SF0D018 | LEVER COVER PAINTED 7035 | GALVANIZED SHEET 15/10 | 2IV187030005 |
| 15. | TT0D013 | GLASS UPRIGHT PIN | STEEL BAR Ø15 | 4140088 |

### 2.3. CEILING LAMP

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | SF0E001 | CEILING LAMP PROFILE | CEILING LAMP PROFILE SILVER PLATED 0E 001 L.6100 | 2IV45E030033 (DX) |
|  |  |  |  | 2IV45E030013 (CX) |
|  |  |  |  | 2IV45E030053 (SX) |
| 2. | SF0E003 | TOP LAMPS HOLDER | WHITE PALST. A1SA 8/10 | 6IV45E030034 (DX) |
|  |  |  |  | 6IV45E030014 (CX) |
|  |  |  |  | 6IV45E030054 (SX) |
| 3. |  | UNIVERSAL STARTER FS 11 |  | 4116001 |
| 4. |  | LAMPS HOLDER + STARTERS HOLDER 441/V-16 |  | 4114712 |
| 5. |  | COMPACT LAMP DULUX L18W/76 |  | 4113623 |
| 6. | SF0E005 | TOP CEILING LAMP | POLYCARBONATE 7/10 | 6IV45E030035 (DX) |
|  |  |  |  | 6IV45E030015 (CX) |
|  |  |  |  | 6IV45E030055 (SX) |

### 2.4. GLASS FIXING PANES CLAMP

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | SF0D003 | JAW PROFILE | JAW ALUMINIUM PROFILE | 2IV45E030008 |
| 2. | SF0D001 | SPHERIC GLASS EXT. | FLOAT 6MM TRANSPARENTE | 4191626 |
| 3. | SF0D012 | PISTON SUPPORT EXTERNAL CORNER | GALVANIZED SHEET 15/10 | 2IV45E030010 (DX) |
|  |  |  |  | 2IV45E030011 (SX) |
| 4. |  | GLASS GASKET PROFILE | PVC | 4180100 |
| 5. | SF0D004 | JAW INSERT PROFILE | ALUMINIUM PROFILE E5628A | 2IV45E030009 |

3. FRAME – LOADING SLIDE – BALLAST HOLDER PANEL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. |  | LATERAL FRAME ASSEMBLY |  |  |
| 2. | SF0L004 | TROLLEY STOPPER TUBE | ROUND STAINLESS STEEL TUBE PROFILE 22X1,5 L.6000 |  |
| 3. |  | BALLAST HOLDER PANEL |  |  |
| 4. |  | CENTRAL FRAME ASSEMBLY |  |  |
| 5. | PP178 | SLIDE “ALPHA” H80 L. 720 | SPRUCE WOOD | 4321310 |
| 6. | 0B 007 | LOADING SLIDE EE 3565 | SPRUCE WOOD 75X38 | 4321223 |

### 3.1. LATERAL FRAME ASSEMBLY

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | SF0B006 | CASE CLOSURE | ABS | 4100339 (SX) |
|  |  |  |  | 4100338 (DX) |
| 2. | SF0B001 | FRAME | ALUMINIUM ALLOY | 2IV125060001 |
| 3. | SF0B005 | SPRING FOR LATERAL CLOSURE COUPLIG | STAINLESS STEEL AISI301 5/10 | 4282798 |
| 4. | SF0B004 | LATERAL FRAME CLOSURE | GALVANIZED SHEET 10/10 | 2IV125080014 (SX) |
|  |  |  |  | 2IV125080004 (DX) |
| 5. |  | NUT SPACER M14 | GALVANIZED IRON |  |
| 6. | SF0B008 | LOADING SLIDE FIXING BRACKET | IRON SHEET 30/10 | 4282832 |
| 7. |  | BOLT M12X45 | GALVANIZED STEEL |  |
| 8. | SF0J007 | FRONT SIDE WALL STOPPER | GALVANIZED SHEET 7/10 | 2IV125070005 (SX) |
|  |  |  |  | 2IV125070004 (DX) |
| 9. | SF0B010 | CASE FIXING BRACKET | GALVANIZED SHEET 10/10 | 6IV125060003 (SX) |
|  |  |  |  | 6IV125060002 (DX) |
| 10. |  | CHROMED STOPPER D.25 S.T.1 | PVC | 4333107 |

### 3.2. CENTRAL FRAME ASSEMBLY

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | SF0B001 | FRAME | ALUMINIUM ALLOY | 2IV125060001 |
| 2. |  | NUT SPACER M14 | GALVANIZED IRON |  |
| 3. | SF0B008 | LOADING SLIDE FIXING BRACKET | IRON SHEET 30/10 | 4282832 |
| 4. |  | BOLT M12X45 | GALVANIZED STEEL |  |

### 4.4. BALLAST HOLDER PANEL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. |  | BALLAST PANEL | IRON SHEET 10/10 | 2IV125090003 |
| 2. |  | BALLAST |  | 15W | 18 – 20 W | 30W | 36 – 40 W | 58 – 65 W |
|  |  |  |  | 4115106 | 4115102 | 4115103 | 4115104 | 4115105 |

===========================================

Regione Gabannone, 4 – Zona Industriale

15030 TERRUGGIA (AL) ITALY

Tel.     +39 0142 433711

Fax.    +39 0142 433700