EXPLODED VIEW

VS-DELTA FAN ASSISTED

45º INTERNAL CORNER

GENERAL SPLITTING UP

- GLASSES SUPERSTRUCTURE – ALUMINIUM TOP AND LAMPS – BUMPER BAND

- INTERNAL FINISH – WORKING TABLE – DISPLAY PLATE – EVAPORATOR

- FRONT DECORATION – FRAME – DRAIN

1 GLASSES SUPERSTRUCTURE

1.1 GLASS AND PROFILES

1.2 ALUMINIUM TOP AND LAMPS

1.3 BUMPER BAND

1.1 GLASS AND PROFILES

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | EEAV 119/A | SILKSCREEN R1000 GLASS 45° INTERNAL CORNER | FLOAT 6mm | 4191541 |
| 2 |  | GLASS GASKET PROFILE | PVC | 4180100 |
| 3 |  | JAW INSERT PROFILE | ALU. PROFILE E5628A | 2BV45I030047 |
| 4 |  | JAW PROFILE | ALUMINIUM | 2BV45I030046 |

1.2 ALUMINIUM TOP AND LAMPS

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | ET0D 003 | TOP PROFILE | ALU. PROFILE Q 1238 | 2BV45I032003 |
| 2 | ET0E 003 | LAMP-HOLDER BV 45º I | PLAST. SHEET 8/10 | 6BV45I022004 |
| 3 |  | COMPACT LAMP DULUX L18W/76 |  | 4113623 |
| 4 | EEAV 138 | FIXING PLATE | SHEET 25/10 | 6BV45E030001 |
| 5 | EEAV 117-2 | CORNER PLIERS CASING | SHEET 25/10 | 6BV45E030044 |
| 6 | EEAV 011 | LEFT ROTATION LEVER | ALUMINIUM ALLOY | 4282114 |
| 7 | EEAV 011 | RIGHT ROTATION LEVER | ALUMINIUM ALLOY | 4282113 |
| 8 |  | LAMP BLOCKING DEVICE ”120” |  | 4114713 |
| 9 |  | LAMP-HOLDER + STARTER-HOLDER 441/V-16 |  | 4114712 |
| 10 |  | UNIVERSAL STARTER FS 11 |  | 4116001 |

1.3 BUMPER BAND

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | ET0L 003 | FRONT BAND PROFILE | ALUMINIUM PROFILE PE3109 | 2BV45I032005 |
| 2 | EEAV 503 | GREY FRONT STRIPE DV | PLAST. SHEET 5/10 | 6DV360070106 |
| 3 | ET0J 006 | BUMPER PVC PROFILE | PVC | 2DV45I0F2001 |
| 4 |  | ANTI-MIST HEATER PROTECTION R1 DV 45° INTERNAL CORNER | STAINLESS STEEL | 6DV45I030058 |

2. INTERNAL FINISH

2.1 WORKING TABLE

2.2 DISPLAY PLATE

2.3 INTERNAL FINISH

2.4 FANS-HOLDER

2.5 EVAPORATOR

2.1 WORKING TABLE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | EECO 105 | FOAMED WORKING TABLE BV 45º I R1000 | STAINLESS STEEL AISI304 7/10 | 2BV45I012000 |

2.2 DISPLAY PLATE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | DA0K 002 | RIGHT PLATE 45° INTERNAL CORNER WITHOUT HOLE | PLAST.SHEET 8/10 | 6PV45I0A0021 |
| 2 |  | FAIR LEAD LITTLE RUBBER D.19 |  | 4113101 |
| 3 | DA0K 002 | LEFT PLATE 45° INTERNAL CORNER WITH HOLE | PLAST.SHEET 8/10 | 6PV45I0A0022 |

2.3 INTERNAL FINISH

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | ET0G 026 | AIR OUTLET GRID | PLAST. SHEET 6/10 | 6DV45I042007 |
| 2 | ET0G 024 | LEFT BACK BRACKET INTERNAL CORNER | SHEET 25/10 | 6BV45I042005 |
| 3 | ET0G 035 | AIR CHANNEL CORNERS | PLAST. SHEET 6/10 | 6BV45E042008 |
| 4 | EEAZ 133 | LEFT BODY HEAD | STAINLESS STEEL AISI304 6/10 | 6DV45E040001 |
| 5 | ET0G 027 | SUCTION GRID | PLAST. SHEET 6/10 | 6DV45I042006 |
| 6 | ET0G 022 | LEFT FRONT BRACKET | STAINLESS STEEL AISI304 15/10 | 6BV45E042003 |
| 7 | ET0G 022 | RIGHT FRONT BRACKET | STAINLESS STEEL AISI304 15/10 | 6BV45E042002 |
| 8 | EEAZ 133 | RIGHT BODY HEAD | STAINLESS STEEL AISI304 6/10 | 6DV45E040000 |
| 9 | ET0U 001 | MULTIPLEXING BRACKET | STAINLESS STEEL AISI304 30/10 | 4282119 |
| 10 | ET0G 024 | RIGHT BACK BRACKET INTERAL CORNER | SHEET 25/10 | 6BV45I042004 |
| 11 | ET0G 037 | RIGHT CORNER TEMPLATE SUPPORT | SHEET 15/10 | 6BV45E042011 |
| 12 | ET0G 037 | LEFT CORNER TEMPLATE SUPPORT | SHEET 15/10 | 6BV45E042012 |
| 13 | ET0G 025 | BACK PLATE SUPPORT 135º INTERNAL CORNER | ALU. PROFILE 25X25X3 | 4154056 |

2.4 FANS HOLDER

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | 0BP0201 | PROTECTION GRID D.200 | PVC | 4271908 |
| 2 |  | CORNER EVAPORATOR COVER SHELL | PST VACUUM | 4101230 |
| 3 |  | FAN D.154 18º H22MM.ASP.VSV | ALUMINIUM | 4249926 |
| 4 |  | MOTORFAN 5W D.154 |  | 4240501 |

2.5  EVAPORATOR BV 45º E R404 PIPE UNION

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | EEB0 103 | EVAPORATOR EXC. S/B 135º CORNER | COPPER TUBES - ALU. SHEET | 4222005 |
| 2 |  | EVAPORATOR – VALVE TUBE | COPPER D.10X12 | 4272415 |
| 3 |  | UNION ½ SAE D.12 7030/4M12 |  | 4271204 |
| 4 |  | SUCTION TUBE FOR VALVE SYSTEM | COPPER D.10X12 | 4272425 |
| 5 |  | ANTICONDENSATE TUBE | INSULATING SPONGE 6X15 | 4270503 |
| 6 |  | COPPER D.4X6 FOR VALVE SYSTEM | COPPER D. 4X6 | 4272413 |
| 7 |  | THERMOSTATIC VALVE R404 TS 2 CART. |  | 4251312 |

- DECORATION – FRAME – DRAIN

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | ET0J 011 | GREY FRONTAL PANEL DV | PLAST. SHEET 6/10 | 6DV45I072030 |
| 2 | ET0B 004 | RIGHT FRAME BV CORNER | GALVANIZED IRON 360 | 4280162 |
| 3 |  | DRAIN |  |  |
| 4 | ET0B 005 | INTERNAL CORNER BACK FRAME REINFORCEMENT CROSS BAR | SHEET 20/10 | 6BV45I002015 |
| 5 | ET0J 009 | GREY BACK PANEL | PLAST. SHEET 6/10 | 6BV45I072029 |
| 6 | ET0B 007 | LOADING SLIDE EE 845 | SPRUCE WOOD | 4321296 |
| 7 | ET0B 004 | LEFT FRAME BV CORNER | GALVANIZED IRON 360 | 4280163 |
| 8 | ET0B 005 | INTERNAL CORNER FRONT FRAME REINFORCEMENT CROSS BAR | GALVANIZED SHEET 20/10 | 6BV45I002014 |
| 9 |  | LOADING SLIDE |  | 4321295 |
| 10 |  | BLACK ‘MINIGONNA’ PROFILE |  | 4161902 |

DIRECT DRAIN

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 |  | PIPE D32 | ABS | 4102125 |
| 2 |  | PIPE NUT D32 | ABS | 4102125 |
| 3 |  | OREGON TUBE UL94V2 D.32 | PVC | 4180815 |

LOADING SLIDE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 |  | NUT M14 | GALVANIZED IRON | 8291073 |
| 2 | DA0B 006 | LOADING SLIDE BLOCKING BRACKET | RAW GALVANIZED IRON 30/10 | 4282833 |
| 3 |  | FEET BOLT M12 | GALVANIZED STEEL | 8293413 |
| 4 | ET0B 007 | LOADING SLIDE EE 505 | SPRUCE WOOD | 4321295 |

===========================================

Regione Gabannone, 4 – Zona Industriale

15030 TERRUGGIA (AL) ITALY

Tel.     +39 0142 433711

Fax.    +39 0142 433700