EXPLODED VIEW

FIRENZE

45º EXTERNAL CORNER

GENERAL SPLITTING UP

- INTERNAL FINISH, FRONTAL DECORATION

- GLASSES SUPERSTRUCTURE

- COMPLETE SIDE WALL

1. INTERNAL FINISH, FRONTAL DECORATION

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | TT0L015 | UPPER DECORATION PROFILE | ALUMINIUM | 2FI45E0F0031 (DX) |
|  |  |  |  | 2FI45E0F0051 (SX) |
| 2. | TT0L013 | BUMPER RAIL PROFILE | PVC | 2FI45E0F0029 (DX) |
|  |  |  |  | 2FI45E0F0049 (SX) |
| 3. | TT0L004 | BUMPER RAIL COUPLER BRACKET |  | 6FI1250F0008 |
| 4. |  | GLASS REBATE GUMMY PROFILE BETA BLACK P0391 | PVC | 4180403 |
| 5. | TT0L037 | GLASS REBATE PROFILE |  | 2FI45E0F0027 (DX) |
|  |  |  |  | 2FI45E0F0047 (SX) |
| 6. | TT0G002 | LATERAL UPRIGHT STOPPER | PLASTICIZED SHEET 6/10 | 6FI1250F0003 (SX) |
| 7. | TT0G022 | LATERAL UPRIGHT STOPPER | GREY PLAST. N1 6/10 | 6FI45E0F0002 (DX) |
|  |  |  |  | 6FI45E0F0003 (SX) |
| 8. | TT0G010 | SUCTION GRID 135°E |  | 6FI45E040031(DX) |
|  |  |  |  | 6FI45E040051(SX) |
| 9. |  | REMOVABLE PLATE EXTERNAL CORNER (ASSEMBLY) |  | 2FI45E040001 (DX) |
|  |  |  |  | 2FI45E040003 (SX) |
| 10. | TT0H011 | BLIND WIREWAY | GREY PLAST. N1 6/10 | 6FI45E010027 (DX) |
|  |  |  |  | 6FI45E010047 (SX) |
| 11. | TT0G008 | AIR OUTLET GRID 135°E |  | 6FI45E040029 (DX) |
|  |  |  |  | 6FI45E040049 (SX) |
| 12. |  | BASIN INTERNAL FINISH |  |  |

### 1.1. BASIN INTERNAL FINISH

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | RG034 | SIDE WALL FIXING BRACKET | IRON SHEET 15/10 | 6SV072040039 (SX) |
|  |  |  |  | 6SV072040038 (DX) |
| 2. | RG106 | BACK STOPPER BRACKET | IRON SHEET 15/10 | 6SV072040041 (SX) |
|  |  |  |  | 6SV072040040 (DX) |
| 3. | PP013 | BASIN STOPPER | STAINLESS STEEL AISI304 5/10 | 6PP096040001 (SX) |
|  |  |  |  | 6PP096040000 (DX) |
| 4. |  | EVAPORATORE |  |  |
| 5. | PP181 | LATERAL EVAPORATOR COVER 135°E. | WHITE PLAST. A1SA 6/10 | 6SV45E040006 |
| 6. | TT0G006 | BACK GRID SUPPORT BRACKET | IRON SHEET 15/10 | 6FI125040113 (SX) |
|  |  |  |  | 6FI125040112 (DX) |
| 7. | TT0H004 | BACK LEVEL SURFACE SUPPORT | IRON SHEET 20/10 | 6FI125010011 (SX) |
|  |  |  |  | 6FI125010009 (DX) |
| 8. | PP210 | PLAST. STOPPER INT. CORNER ALPHA | POLYETHYLENE Thickness 18mm | 4081128 |
| 9. | PP211 | BACK PLAST. STAINLESS STEEL CLOSURE 45E | STAINLESS STEEL AISI304 DEC9 BA + PRO + SAT80 H435X 7/10 | 6PP45E010007 |
| 10. | PP062 | JUNCTION PLANES FOR CORNERS | POLYETHYLENE Thickness 25mm | 4081121 |
| 11. | PP211 | FRONT PLAST. STAILESS STEEL CLOSURE 45E | STAINLESS STEEL AISI304 DEC9 BA + PRO + SAT80 H435X 7/10 | 6PP45E010008 |
| 12. | TT0C002 | THERMOMETER HOLDER | STAINLESS STEEL AISI304 15/10 | 6FI125020007 |
| 13. |  | DIGITAL THERMOMETER |  | 4131307 |
| 14. |  | FANS HOLDER |  |  |
| 15. |  | GUMMY INSERT PROFILE TT R/123 RAL9006 | PVC | 4180409 |
| 16. | TT0G014 | TOP DEFLECTOR PROFILE 135°E | ATOXIC PVC PROFILE GLASS DEFL.4400 0G 001 | 2FI45E040027 (DX) |
|  |  |  |  | 2FI45E040047 (SX) |
| 17. | TT0L001 | TOP PANEL SUPPORT BRACKET | GALVANIZED SHEET 15/10 | 6FI1250F0001 |
| 18. | TT0G007 | FRONT GRID SUPPORT BRACKET | STAINLESS STEEL AISI304 15/10 | 6FI125040014 (DX) |
|  |  |  |  | 6FI125040015 (SX) |
| 19. | TT0L022 | STOPPER SUPPORT PST | GALVANIZED SHEET SKIMPAS 7/10 | 6FI1250F0012 |
| 20. |  | BOTTOM BASIN ASSEMBLY |  |  |

1.1.1. FANS HOLDER. EVAPORATOR

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | PP181 | EVAPORATOR COVER 135°EXT CORNER | STAINLESS STEEL AISI 304 6/10 | 6SV45E040005 |
| 2. |  | MOTORFAN “PP” 4715 MS23TB10 A00 |  | 4241007 |
| 3. |  | CABLE CONNECTOR L. 1525 MM |  | 4110606 |
| 4. | CC0F012 | EVAPORATOR COVER SUPPORT BRACKET | SILVER PLATED +PLASTICIZED ALUMINIUM 20/10 | 6PP096040036 |
| 5. |  | EVAPORATOR KING V. 135 E – I COATED | COOPER TUBES - ALUMINIUM SHEETS | 4220300 |
| 6. | PP440 | TUBE FOR VALVE, LIQUID LINE | COOPER TUBES D.6 X 8 | 4272415 |
| 7. | PP441 | TUBE FOR VALVE, EXTERNAL EQUALIZATION | COOPER TUBES D.4 X 6 | 4272414 |
| 8. |  | WELDED VALVE THERMOSTAT.R404 TES/2 |  | 4251311 |
| 9. |  | VALVE BULB |  |  |
| 10. |  | ANTICONDENSATE TUBE | INSULATING SPONGE 6 X 22 | 4270505 |
| 11. |  | CAPILLARY TUBE | COOPER TUBES 1.8X3 | 4260206 |

1.1.2. BOTTOM BASIN ASSEMBLY

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | PP178 | WOOD SLIDE ”ALPHA” H80 L. 720 | SPRUCE WOOD | 4321310 |
| 2. |  | LEFT FRAME |  |  |
| 3. | TT0J046 | BASIN COVER PANNEL 135°E | PLAST. SHEET N12SM 6/10 | 6FI45E070005 (DX) |
|  |  |  |  | 6FI45E070006 (SX) |
| 4. |  | DRAIN D. 44 | ABS | 4102106 |
| 5. |  | DRAIN NUT D. 44 | ABS | 4102106 |
| 6. |  | DRAIN D. 35 | ABS |  |
| 7. |  | DRAIN 10124 1’1/2 GAS L.75 MM | ABS | 4102132 |
| 8. |  | DRAIN NUT D. 35 | ABS |  |
| 9. |  | DRAIN NUT 1’’1/2 | ABS |  |
| 10. |  | BALLASTS HOLDER PANEL |  | 2FI125090107 |
| 11. | RGSD016 | SUPPORT FOR BALLASTS PANEL TERMINAL BOARD | GALVANIZED SHEET 10/10 | 6SV072090010 |
| 12. |  | RIGHT FRAME |  |  |

1.1.2.1. BALLASTS HOLDER PANEL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | TT0C001 | BALLASTS HOLDER | IRON SHEET 10/10 | 6FI125090108 |
| 2. |  | BALLAST |  | 18 – 20 W |
|  |  |  |  | 4115102 |

1.1.2.2. FRAME

| RIGHT | LEFT |
| --- | --- |

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | TT0J003 | UNDER BASIN DECORATION | PLASTICIZED SHEET 8/10 | 6FI125070004 (SX) |
|  |  |  |  | 6FI125070003 (DX) |
| 2. | TT0B006 | FRAME | IRON TUBE | 2FI125060001 |
| 3. | TT0J007 | LEG BACK CLOSURE (P) | GREY PLASTICIZED SHEET 6/10 | 6FI125060002 |
| 4. |  | BOLT M12X45 | GALVANIZED STEEL |  |
| 5. | TT0J005 | FRONT DECORATION SUPPORT ANTHRAC. | PLASTICIZED SHEET 8/10 | 6FI125070002 |
| 6. | TT0J001 | CAMBERED ANTHRAC. FRONT DECORATION | PLASTICIZED SHEET 8/10 | 6FI125070001 |
| 7. | TT0J048 | UNDER BASIN DECORATION 45E SIDE WALL TERM | PLASTICIZED SHEET 6/10 | (DX) |
| 8. | TT0J002 | UNDER SIDE WALL DECORATION | PLASTICIZED SHEET 8/10 | 6FI125080012 (DX) |
|  |  |  |  | 6FI125080013 (SX) |

# 2. GLASSES SUPERSTRUCTURE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. |  | LATERAL UPRIGHT |  |  |
| 2. |  | UPPER CEILING LAMP FI 45°E C.T.M |  | 2FI45E030009 |
| 3. | TT0D022 | COVER PROFILE EXTERNAL CORNER | ALUMINIUM PROFILE | 2FI90E030005 |
| 4. | TT0D020 | TOP GLASS 45E | FLOAT 10mm | 4199912 |
| 5. | RG062.1 | JAW PROFILE 45E | ALUMINIUM PROFILE |  |
| 6. | TT0D031 | JAW INSERT PROFILE | ALUMINIUM PROFILE E5628A |  |
| 7. |  | GLASS GASKET PROFILE | PVC | 4180100 |
| 8. | RG047 | GLASS 45E | FLOAT 6mm | 4191469 (SX) |

### 2.1. CEILING LAMP

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. |  | UNIVERSAL STARTER FS 11 |  | 4116001 |
| 2. |  | LAMPS HOLDER + STARTERS HOLDER 441/V-16 |  | 4114712 |
| 3. |  | LAMP STOP DEVICE "120" |  | 4114713 |
| 4. |  | COMPACT LAMP DULUX L18W/76 |  | 4113623 |
| 5. | TT0E029 | CEILING LAMP SHIELD POLYCARBONATE | POLYC. PLEX. LEXAN PC 2050X1250X0,75 | 6FI45E030032 (DX) |
|  |  |  |  | 6FI45E030052 (SX) |
| 6. | TT0E003 | TOP LAMPS HOLDER 45E FOR CORNER ENDED WITH SIDE WALL | PLASTICIZED SHEET 8/10 | 6FI45E030051 (SX) |
| 7. | TT0E007 | CEILING LAMP PROFILE 45E | ALUMINIUM PROFILE |  |
| 8. | CC0D023.1 | OPAL PLEXIGLASS FOR CEILING LAMP | OPAL GLASS 3mm | 4082305 |
| 9. | TT0E003 | TOP LAMPS HOLDER 45E | PLASTICIZED SHEET 8/10 | 6FI45E030031 (DX) |

### 2.2. LATERAL UPRIGHT

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | TT0D002 | CURVED FRONT UPRIGHT FIR. | ALLOY 6060 T5 | 4351209 |
| 2. | RG072 | BACK GLASS UPRIGHT PIN "SIGMA" GALVANIZED | STEEL BAR Ø15 | 4140070 |
| 3. | CC0D010 | GLASS UPRIGHT SUPPORT KREA | ALUMINIUM ALLOY 6060 (FLAT PROFILE 30X30) | 4282116 |
| 4. |  | BOLT TCEI M8X50 | GALVANIZED STEEL |  |
| 5. | ECAV 016 | PISTON BUSH | NYLON | 8291718 |
| 6. | TT0D003 | LATERAL FRONT PIN | GROUND DRAWN STEEL Ø6 | 4140085 |
| 7. | AV011 | ROTATION LEVER PRESSOFUS | ALUMINIUM ALLOY | 4282114 (SX) |
|  |  |  |  | 4282113 (DX) |
| 8. |  | PLAIN WASHER 8X24 | GALVANIZED STEEL |  |
| 9. |  | WHITE STOPPER DP500 | PLASTIC | 4333114 |
| 10. |  | SEGGER 5 | GALVANIZED STEEL | 8298303 |
| 11. | TT0D013 | GLASS UPRIGHT PIN | STEEL BAR Ø15 | 4140088 |
| 12. |  | CAGE NUT M5 |  |  |
| 13. | TT 0D001 | LEVER SUPPORT | IRON SHEET 20/10 | 2FI125030013 |
| 14. |  | SEGGER 7 | GALVANIZED STEEL | 8298304 |
| 15. | TT0D005 | LATERAL BACK PIN | GROUND DRAWN STEEL Ø8 | 4140086 |
| 16. |  | SPACER WITH HOLE DCS79B 6R | NYLON |  |
| 17. |  | BOLT TS+ M5X35 | STAINLESS STEEL |  |
| 18. | TT0D007 | LEVER COVER | IRON SHEET 15/10 | 2FI125030016 (SX) |
| 19. |  | BOLT TCEI M8X30 | GALVANIZED STEEL |  |
| 20. |  | PISTON VS-SV R 1000 | STAINLESS STEEL | 4145020 |
| 21. | ECAV018 | PISTON FRONT PIN | GROUND DRAWN STEEL Ø6 |  |
| 22. |  | GROWER M8 |  |  |

3. COMPLETE SIDE WALL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | TT0M001 | SIDE WALL | POLYURETHANE Thickness 50mm | (SX) |
|  |  |  |  | (DX) |
| 2. |  | LATERAL GLASS BLOCK | PVC | 4100313 |
| 3. | TT0M009 | SIDE GLASS FIRENZE | FLOAT 6 mm | 4190150 |

===========================================

Regione Gabannone, 4 – Zona Industriale

15030 TERRUGGIA (AL) ITALY

Tel.     +39 0142 433711

Fax.    +39 0142 433700