EXPLODED VIEW

FIRENZE

45º INTERNAL CORNER

GENERAL SPLITTING UP

- INTERNAL FINISH, FRONTAL DECORATION

- GLASSES SUPERSTRUCTURE

- COMPLETE SIDE WALL

1. INTERNAL FINISH, FRONTAL DECORATION

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | TT0L014 | UPPER DECORATION PROFILE | ALUMINIUM | 2FI45I0F0031 (R) |
|  |  |  |  | 2FI45I0F0051 (L) |
| 2. | TT0L012 | BUMPER RAIL PROFILE | PVC | 2FI45I0F0029 (R) |
|  |  |  |  | 2FI45I0F0049 (L) |
| 3. | TT0L004 | BUMPER RAIL COUPLER BRACKET |  | 6FI1250F0008 |
| 4. |  | GLASS REBATE GUMMY PROFILE BETA BLACK P0391 | PVC | 4180403 |
| 5. | TT0L038 | GLASS REBATE PROFILE |  | 2FI45I0F0027 (R) |
|  |  |  |  | 2FI45I0F0047 (L) |
| 6. | TT0G002 | LATERAL UPRIGHT STOPPER | GREY PLAST. N1 6/10 | 6FI1250F0003 (L) |
| 7. | TT0G023 | LATERAL UPRIGHT STOPPER | GREY PLAST. N1 6/10 | 6FI45I0F0002 (R) |
|  |  |  |  | 6FI45I0F0003 (L) |
| 8. | TT0G011 | SUCTION GRID 135°I |  | 6FI45I040031 (R) |
|  |  |  |  | 6FI45I040051 (L) |
| 9. | TT0G009 | AIR OUTLET GRID 135°I |  | 6FI45I040029 (R) |
|  |  |  |  | 6FI45I040049 (L) |
| 10. |  | REMOVABLE PLATE EXTERNAL CORNER (ASSEMBLY) |  | 2FI45I040001 (R) |
|  |  |  |  | 2FI45I040003 (L) |
| 11. | TT0H012 | BLIND WIREWAY | GREY PLAST. N1 6/10 | 6FI45I010027 (R) |
|  |  |  |  | 6FI45I010047 (L) |
| 12. | PP102 | SLIDING FOR ACCESSORY | STAINLESS STEEL AISI304 8/10 | 6PP45I010009 |
| 13. |  | BASIN INTERNAL FINISH |  |  |

### 1.1. BASIN INTERNAL FINISH

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | RG034 | SIDE WALL FIXING BRACKET | IRON SHEET 15/10 | 6SV072040039 (L) |
|  |  |  |  | 6SV072040038 (R) |
| 2. | RG106 | BACK STOPPER BRACKET | IRON SHEET 15/10 | 6SV072040041 (L) |
|  |  |  |  | 6SV072040040 (R) |
| 3. | PP013 | BASIN STOPPER | STAINLESS STEEL AISI304 5/10 | 6PP096040001 (L) |
|  |  |  |  | 6PP096040000 (R) |
| 4. | PP179 | LATERAL EVAPORATOR COVER 135°I. | WHITE PLAST. A1SA 6/10 | 6SV45I040006 |
| 5. |  | EVAPORATOR |  |  |
| 6. | TT0G006 | BACK GRID SUPPORT BRACKET | IRON SHEET 15/10 | 6FI125040113 (L) |
|  |  |  |  | 6FI125040112 (R) |
| 7. | TT0H004 | BACK LEVEL SURFACE SUPPORT | IRON SHEET 20/10 | 6FI125010011 (L) |
|  |  |  |  | 6FI125010009 (R) |
| 8. | PP061 | STAINLESS STEEL PLAIN | STAINLESS STEEL AISI304 7/10 | 6PP45I010002 |
| 9. | PP211 | BACK PLAST. STAINLESS STEEL CLOSURE 45E | STAINLESS STEEL AISI304 DEC9 BA + PRO + SAT80 H435X 7/10 | 6PP45E010007 |
| 10. | PP210 | PLAST. STOPPER INT. CORNER ALPHA | POLYETHYLENE Thickness 18mm | 4081128 |
| 11. | PP062 | JUNCTION PLANES FOR CORNERS | POLYETHYLENE Thickness 25mm | 4081121 |
| 12. | PP211 | FRONT PLAST. STAILESS STEEL CLOSURE 45E | STAINLESS STEEL AISI304 DEC9 BA + PRO + SAT80 H435X7/10 | 6PP45E010008 |
| 13. | TT0C002 | THERMOMETER HOLDER | STAINLESS STEEL AISI304 15/10 | 6FI125020007 |
| 14. |  | DIGITAL THERMOMETER |  | 4131307 |
| 15. |  | FANS HOLDER |  |  |
| 16. | TT0G015 | TOP DEFLECTOR PROFILE 135°I | ATOXIC PVC PROFILE GLASS DEFL.4400 0G 001 | 2FI45I040027 (R) |
|  |  |  |  | 2FI45I040047 (L) |
| 17 | TT0G007 | FRONT GRID SUPPORT BRACKET | STAINLESS STEEL AISI304 15/10 | 6FI125040014 (R) |
|  |  |  |  | 6FI125040015 (L) |
| 18. | TT0L001 | TOP PANEL SUPPORT BRACKET | GALVANIZED SHEET 15/10 | 6FI1250F0001 |
| 19. | TT0L022 | STOPPER SUPPORT PST | GALVANIZED SHEET SKIMPAS 7/10 | 6FI1250F0012 |
| 20. |  | BOTTOM BASIN ASSEMBLY |  |  |

1.1.1. FANS HOLDER. EVAPORATOR

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | PP179 | EVAPORATOR COVER 135°INT CORNER | STAINLESS STEEL AISI 304 6/10 | 6SV45I040005 |
| 2. |  | MOTORFAN “PP” 4715 MS23TB10 A00 |  | 4241007 |
| 3. |  | CABLE CONNECTOR L. 1525 MM |  | 4110606 |
| 4. | CC0F012 | EVAPORATOR COVER SUPPORT BRACKET | SILVER PLATED +PLASTICIZED ALUMINIUM 20/10 | 6PP096040036 |
| 5. |  | EVAPORATOR KING V. 135 E – I COATED | COOPER TUBES - ALUMINIUM SHEETS | 4220300 |
| 6. | PP440 | TUBE FOR VALVE, LIQUID LINE | COOPER TUBES D.6 X 8 | 4272415 |
| 7. | PP441 | TUBE FOR VALVE, EXTERNAL EQUALIZATION | COOPER TUBES D.4 X 6 | 4272414 |
| 8. |  | WELDED VALVE THERMOSTAT.R404 TES/2 |  | 4251311 |
| 9. |  | VALVE BULB |  |  |
| 10. |  | ANTICONDENSATE TUBE | INSULATING SPONGE 6 X 22 | 4270505 |
| 11. |  | CAPILLARY TUBE | COOPER TUBES 1.8X3 | 4260206 |

1.1.2.  BOTTOM BASIN ASSEMBLY

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | PP178 | WOOD SLIDE ”ALPHA” H80 L. 720 | SPRUCE WOOD | 4321310 |
| 2. |  | LEFT FRAME |  |  |
| 3. |  | RIGHT FRAME |  |  |
| 4. | RGSD016 | SUPPORT FOR BALLASTS PANEL TERMINAL BOARD | GALVANIZED SHEET 10/10 | 6SV072090010 |
| 5. | TT0J047 | BASIN COVER PANNEL 135°I | PLAST. SHEET N12SM 6/10 | 6FI45I070005 (R) |
|  |  |  |  | 6FI45I070006 (L) |
| 6. |  | DRAIN D. 44 | ABS | 4102106 |
| 7. |  | BALLASTS HOLDER PANEL |  | 2FI125090107 |
| 8. |  | DRAIN NUT 1’’1/2 | ABS |  |
| 9. |  | DRAIN D. 20 | ABS | 4102101 |
| 10. |  | DRAIN NUT D. 20 | ABS | 4102101 |
| 11. |  | DRAIN 10124 1’1/2 GAS L.75 MM | ABS | 4102132 |
| 12. |  | DRAIN NUT D. 44 | ABS | 4102106 |

1.1.2.1. BALLASTS HOLDER PANEL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | TT0C001 | BALLASTS HOLDER | IRON SHEET 10/10 | 6FI125090108 |
| 2. |  | BALLAST |  | 18 – 20 W |
|  |  |  |  | 4115102 |

1.1.2.2. FRAME

| LEFT | RIGHT |
| --- | --- |

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | TT0J003 | UNDER BASIN DECORATION | PLASTICIZED SHEET 8/10 | 6FI125070004 (L) |
|  |  |  |  | 6FI125070003 (R) |
| 2. | TT0B006 | FRAME | IRON TUBE | 2FI125060001 |
| 3. | TT0J007 | LEG BACK CLOSURE (P) | GREY PLASTICIZED SHEET 6/10 | 6FI125060002 |
| 4. |  | BOLT M12X45 | GALVANIZED STEEL |  |
| 5. | TT0J005 | FRONT DECORATION SUPPORT ANTHRAC. | PLASTICIZED SHEET 8/10 | 6FI125070002 |
| 6. | TT0J001 | CAMBERED ANTHRAC. FRONT DECORATION | PLASTICIZED SHEET 8/10 | 6FI125070001 |
| 7. | TT0J053 | DECORATION SUPPORT 45I SIDE WALL TERM. | PLASTICIZED SHEET 8/10 | - |
| 8. | TT0J052 | CAMBERED FRONT DECORATION 45I SIDE WALL TERM. | PLASTICIZED SHEET 8/10 | - |
| 9. | TT0J054 | UNDER BASIN DECORATION INTERNAL CORNER SIDE WALL TERM. | PLASTICIZED SHEET 8/10 | - |
| 10. | TT0J002 | UNDER SIDE WALL DECORATION | PLASTICIZED SHEET 8/10 | 6FI125080012 (DX) |
|  |  |  |  | 6FI125080013 (SX) |

# 2. GLASSES SUPERSTRUCTURE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | RG045 | GLASS 45I | FLOAT 6mm | 4191472 (L) |
| 2. |  | GLASS GASKET PROFILE | PVC | 4180100 |
| 3. | TT0D031 | JAW INSERT PROFILE | ALUMINIUM PROFILE E5628A |  |
| 4. | RG061.1 | JAW PROFILE 45I | ALUMINIUM PROFILE |  |
| 5. |  | UPPER CEILING LAMP FI 45°I C.T.M |  | 2FI45I030009 |
| 6. |  | LATERAL UPRIGHT |  |  |
| 7. | TT0D023 | COVER PROFILE 45I | ALUMINIUM PROFILE |  |
| 8. |  | TOP GLASS 45I | FLOAT 10mm | 4199913 |

### 2.1. CEILING LAMP

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | TT0E008 | CEILING LAMP PROFILE | ALUMINIUM PROFILE | 2FI90I030010 (R) |
| 2. | CC0D023.1 | CEILING LAMP HEAD | OPAL GLASS 3mm | 4082305 |
| 3. |  | COMPACT LAMP DULUX L18W/76 |  | 4113623 |
| 4. |  | UNIVERSAL STARTER FS 11 |  | 4116001 |
| 5. |  | LAMPS HOLDER + STARTERS HOLDER 441/V-16 |  | 4114712 |
| 6. |  | LAMP STOP DEVICE "120" |  | 4114713 |
| 7. | TT0E029 | CEILING LAMP SHIELD POLYCARBONATE | POLYC. PLEX. LEXAN PC 2050X1250X0,75 | 6FI45E030032 (R) |
|  |  |  |  | 6FI45E030052 (L) |
| 8. | TT0E005 | TOP LAMPS HOLDER | PLASTICIZED SHEET 8/10 | 6FI45I030031 (R) |
|  |  |  |  | 6FI45I030051 (L) |

### 2.2. LATERAL UPRIGHT

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | TT0D002 | CURVED FRONT UPRIGHT FIR. | ALLOY 6060 T5 | 4351209 |
| 2. | RG072 | BACK GLASS UPRIGHT PIN "SIGMA" GALVANIZED | STEEL BAR Ø15 | 4140070 |
| 3. | CC0D010 | GLASS UPRIGHT SUPPORT KREA | ALUMINIUM ALLOY 6060 (FLAT PROFILE 30X30) | 4282116 |
| 4. |  | BOLT TCEI M8X50 | GALVANIZED STEEL |  |
| 5. | ECAV 016 | PISTON BUSH | NYLON | 8291718 |
| 6. | TT0D003 | LATERAL BACK PIN | GROUND DRAWN STEEL Ø6 | 4140085 |
| 7. | AV011 | ROTATION LEVER PRESSOFUS | ALUMINIUM ALLOY | 4282114 (L) |
|  |  |  |  | 4282113 (R) |
| 8. |  | PLAIN WASHER 8X24 | GALVANIZED STEEL |  |
| 9. |  | WHITE STOPPER DP500 | PLASTIC | 4333114 |
| 10. |  | SEGGER 5 | GALVANIZED STEEL | 8298303 |
| 11. | TT0D013 | GLASS UPRIGHT PIN | STEEL BAR Ø15 | 4140088 |
| 12. |  | CAGE NUT M5 |  |  |
| 13. | TT 0D001 | LEVER SUPPORT | IRON SHEET 20/10 | 2FI125030013 |
| 14. |  | SEGGER 7 | GALVANIZED STEEL | 8298304 |
| 15. | TT0D005 | LATERAL BACK PIN | GROUND DRAWN STEEL Ø8 | 4140086 |
| 16. |  | SPACER WITH HOLE DCS79B 6R | NYLON |  |
| 17. |  | BOLT TS+ M5X35 | STAINLESS STEEL |  |
| 18. | TT0D007 | LEVER COVER | IRON SHEET 15/10 | 2FI125030016 (L) |
| 19. |  | BOLT TCEI M8X30 | GALVANIZED STEEL |  |
| 20. |  | PISTON VS-SV R 1000 | STAINLESS STEEL | 4145020 |
| 21. | ECAV018 | PISTON FRONT PIN | GROUND DRAWN STEEL Ø6 |  |
| 22. |  | GROWER M8 |  |  |

3. COMPLETE SIDE WALL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | TT0M001 | SIDE WALL | POLYURETHANE Thickness 50mm | (L) |
|  |  |  |  | (R) |
| 2. |  | LATERAL GLASS BLOCK | PVC | 4100313 |
| 3. | TT0M009 | SIDE GLASS FIRENZE | FLOAT 6 mm | 4190150 |

===========================================

Regione Gabannone, 4 – Zona Industriale

15030 TERRUGGIA (AL) ITALY

Tel.     +39 0142 433711

Fax.    +39 0142 433700