EXPLODED VIEW

VS-PORTOFINO FAN ASSISTED

45º INTERNAL CORNER

GENERAL SPLITTING UP

- GLASSES SUPERSTRUCTURE – ALUMINIUM TOP AND LAMPS – BUMPER BAND

- INTERNAL FINISH – WORKING TABLE – DISPLAY PLATE – EVAPORATOR

- FRONT DECORATION – FRAME – DRAIN – CONTROL BOARD

  - GLASSES SUPERSTRUCTURE

1.1 LEFT GLASS AND PROFILES

1.2 LEFT GLASS UPRIGHT

1.3 ALUMINIUM TOP AND LAMPS

1.4 RIGHT GLASS UPRIGHT

1.5 RIGHT GLASS AND PROFILES

1.6 BUMPER BAND

  - LEFT GLASS AND PROFILES

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | DA0D 003 | LEFT CURVED TRAPEZOIDAL SILKSCREEN AND TEMPERED GLASS FOR CORNER 45º I | FLOAT 6mm | 4191557 |
| 2 |  | GLASS GASKET PROFILE | PVC | 4180100 |
| 3 |  | LEFT JAW INSERT PROFILE FOR 135 º INT. | ALU. PROFILE E5628A | 2PV45I030046 |
| 4 | DA0D 012 | LEFT JAW PROFILE CUT | ALUMINIUM | 2PV45I030045 |

  - LEFT GLASS UPRIGHT

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | DA0D 006 | PORTOFINO FRONT UPRIGHT | ALUMINIUM ALLOY 6060 T5 | 4351214 |
| 2 | DA0D 014 | RINFORCEMENT FOR FRONT UPRIGHT | GALVANIZED SHEET 15/10 | 6PV120030002 |
| 3 | DA0D 005 | FRONT UPRIGHT SUPPORT | DRAWN IRON 4X40 | 2PV120030009 |
| 4 | RG 072 | BACK UPRIGHT PIN “SIGMA” | RUNG STEEL Ø15 | 4140070 |
| 5 |  | WHITE CAP DP500 |  | 4333114 |
| 6 |  | SEGGER 5 | GALVANIZED STEEL | 8298303 |
| 7 | TT0D 003 | FRONTSIDE PIN | DRAWN GROUND STEEL D 6 | 4140085 |
| 8 | TT0D 024 | LEFT TOP FIXING BRACKET | IRON SHEET 15/10 | 2FI125030202 |
| 9 | TT0D 005 | BACKSIDE PIN | DRAWN GROUND STEEL D 6 | 4140086 |
| 10 |  | SEGGER 7 | GALVANIZED STEEL | 8298304 |
| 11 |  | SPACER WITH HOLE DCS79B NYLON 6R ELECTROZUB | NYLON | 150 |
| 12 | TT0D 001 | LEVER SUPPORT | IRON SHEET 20/10 | 2FI125030013 |
| 13 | EEAV 011 | LEFT ROTATION LEVER PRESSOFUS | ALUMINIUM ALLOY | 4282114 |
| 14 | TT0D 013 | FIRENZE UPRIGHT PIN | RUNG STEEL Ø15 | 4140088 |

  - ALUMINIUM TOP AND LAMPS

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | DA0D 011 | LEFT 135º I TOP PROFILE | ALUMINIUM PROFILE Q 1238 | 2PV45I030047 |
| 2 | DA0E 001 | RIGHT LAMP-HOLDER PV 135º I | PLASTICIZED SHEET 8/10 | 6PV45I020006 |
| 3 | DA0D 011 | LEFT 135º I TOP PROFILE | ALUMINIUM PROFILE Q 1238 | 2PV45I030027 |
| 4 | DA0E 001 | LEFT LAMP-HOLDER PV 135º I | PLASTICIZED SHEET 8/10 | 6PV45I020046 |
| 5 |  | COMPACT LAMP DULUX L18W/76 |  | 4113623 |
| 6 |  | LAMP-HOLDER + STARTER-HOLDER 441/V-16 | ALUMINIUM | 4114712 |
| 7 |  | UNIVERSAL STARTER FS 11 |  | 4116001 |

  - RIGHT GLASS UPRIGHT

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | DA0D 006 | PORTOFINO FRONT UPRIGHT | ALUMINIUM ALLOY 6060 T5 | 4351214 |
| 2 | DA0D 014 | RINFORCEMENT FOR FRONT UPRIGHT | GALVANIZED SHEET 15/10 | 6PV120030002 |
| 3 | DA0D 005 | FRONT UPRIGHT SUPPORT | DRAWN IRON 4X40 | 2PV120030009 |
| 4 | RG 072 | BACK UPRIGHT PIN “SIGMA” | RUNG STEEL Ø15 | 4140070 |
| 5 |  | WHITE CAP DP500 | PLAST. | 4333114 |
| 6 | TT0D 013 | UPRIGHT PIN FIRENZE | RUNG STEEL Ø15 | 4140088 |
| 7 | EEAV 011 | RIGHT ROTATION LEVER PRESSOFUS | ALUMINIUM ALLOY | 4282113 |
| 8 | TT0D 003 | FRONTSIDE PIN | DRAWN GROUND STEEL D 6 | 4140085 |
| 9 |  | SEGGER 7 | GALVANIZED STEEL | 8298304 |
| 10 |  | SPACER WITH HOLE DCS79B NYLON 6R ELECTROZUB | NYLON | 150 |
| 11 | TT0D 001 | LEVER SUPPORT | IRON SHEET 20/10 | 2FI125030013 |
| 12 | TT0D 005 | BACKSIDE PIN | DRAWN GROUND STEEL D 6 | 4140086 |
| 13 | TT0D 024 | RIGHT TOP FIXING BRACKET | IRON SHEET 15/10 | 2FI125030201 |
| 14 |  | SEGGER 5 | GALVANIZED STEEL | 8298303 |

1.5 RIGHT GLASS AND PROFILES

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | DA0D 003 | RIGHT CURVED TRAPEZOIDAL SILKSCREEN AND TEMPERED GLASS FOR CORNER 45º INT. | FLOAT 6mm | 4191556 |
| 2 |  | GLASS GASKET PROFILE | PVC | 4180100 |
| 3 |  | RIGHT JAW INSERT PROFILE FOR 135 º INT. | ALUMINIUM PROFILE E5628A | 2PV45I030026 |
| 4 | DA0D 012 | LEFT JAW PROFILE CUT | ALUMINIUM | 2PV45I030025 |

1.6 BUMPER BAND

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | DAOL 005 | LEFT BUMPER RAIL PV 135º | PVC ANTI-CRASH PROFILE | 2PV45I0F0021 |
| 2 | DA0L 006 | LEFT GLASS LEDGE PROFILE | ALUMINIUM PROFILE | 2PV45I0F0025 |
| 3 | DA0L 001 | LEFT FRONT SUPPORT BRACKET | SHEET 15/10 | 6PV1200F0003 |
| 4 | TT0L 004 | BUMPER RAIL HOOK BRACKET | SHEET 15/10 | 6FI1250F0008 |
| 5 | DA0L 009 | LEFT JOINING PROFILE PV 135º | PVC IMAP PROFILE | 2PV45I0F0024 |
| 6 | P0391 | BLACK GUM GLASS LEDGE PROFILE |  | 4180403 |
| 7 | DA0L 001 | RIGHT FRONT SUPPORT BRACKET | SHEET 15/10 | 6PV1200F0002 |
| 8 | DA0L 009 | RIGHT JOINING PROFILE PV 135º | PVC IMAP PROFILE | 2PV45I0F0014 |
| 9 | P0391 | BLACK GUM GLASS LEDGE PROFILE |  | 4180403 |
| 10 | DA0L 006 | LEFT GLASS LEDGE PROFILE | ALUMINIUM PROFILE | 2PV45I0F0015 |
| 11 | DAOL 005 | LEFT BUMPER RAIL PV 135º | PVC ANTI-CRASH PROFILE | 2PV45I0F0011 |

  - INTERNAL FINISH

2.1 WORKING TABLE

2.2 DISPLAY PLATE

2.3 FANS-HOLDER

2.4 EVAPORATOR

2.5 INTERNAL FINISH

2.1 WORKING TABLE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | DA0H 008 | RIGHT WORKING TABLE PV 135º I R1 SCHIU. |  | 2PV45I010021 |
| 2 | TT0C 002 | THERMOMETER-HOLDER | STAINLESS STEEL AISI304 15/10 | 6FI125020007 |
| 3 |  | DIGITAL THERMOMETER CC10030000-A |  | 4131307 |
| 4 | DA0H 008 | LEFT WORKING TABLE PV 135º I R1 SCHIU. |  | 2PV45I010041 |

2.2 DISPLAY PLATE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | DA0K 002 | RIGHT PLATE 135º INTERNAL CORNER | STAINLESS STELL AISI304 8/10 | 6PV45I0A0011 |
| 2 | DA0K 002 | LEFT PLATE 135º INTERNAL CORNER | STAINLESS STELL AISI304 8/10 | 6PV45I0A0012 |

2.3 FANS HOLDER

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | 0BP0201 | PROTECTION GRID D.200 | PVC | 4271908 |
| 2 |  | EVOPORATOR COVER SHELL CORNER | PST VACUUM | 4101230 |
| 3 |  | FAN D.154 18º H22MM.ASP.VSV | ALUMINIUM | 4249926 |
| 4 |  | MOTORFAN 5W D.154 |  | 4240501 |

2.4 EVAPORATOR BV 45º E R404 PIPE UNION

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | EEB0 103 | EVAPORATOR EXC. S/B 135º CORNER | COOPER TUBES - ALU. SHEET | 4222005 |
| 2 | PP440 | EVAPORATOR – VALVE TUBE | COOPER D. 6X8 | 4272415 |
| 3 |  | PIPE UNION ½ SAE D.12 7030/4M12 |  | 4271204 |
| 4 | ET0F 010 | SUCTION TUBE FOR VALVE SYSTEM | COOPER D. 8 X 10 (10 X 1) | 4272425 |
| 5 |  | ANTICONDENSATE TUBE | INSULATING SPONGE 6 X 15 | 4270503 |
| 6 |  | DELIVERY TUBE FOR VALVE SYSTEM | COOPER D. 4X6 | 4272413 |
| 7 |  | VALVE THERMOSTAT. R404 TS 2 CART. |  | 4251312 |

2.5 INTERNAL FINISH

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | DA0A 031 | LEFT BODY HEAD | STAINLESS STEEL AISI304 6/10 | 6PV45E040029 |
| 2 | ET0U 001 | MULTIPLEXING BRACKET | STAINLESS STEEL AISI304 30/10 | 4282119 |
| 3 | DA0G 026 | AIR CHANNEL CLOSURE – EXTERNAL CORNER | PLAST. SHEET 6/10 | 6PV45I040012 |
| 4 | DA0G 052 | BACK BRACKET – LEFT FROM SERVICE SIDE | SHEET 15/10 | 6PV120040002 |
| 5 | DA0G 013 | LEFT AIR OUTLET GRID | PLAST. SHEET 8/10 | 6PV45I040105 |
| 6 | DA0G 025 | EVAPORATOR COVER COMPENSATION EXTERNAL CORNER | PLAST. SHEET 6/10 | 6PV45I040011 |
| 7 | DA0G 013 | RIGHT AIR OUTLET GRID | PLAST. SHEET 8/10 | 6PV45I040085 |
| 8 | ET0U 001 | MULTIPLEXING BRACKET | STAINLESS STEEL AISI304 30/10 | 4282119 |
| 9 | DA0G 052 | BACK BRACKET – RIGHT FROM SERVICE SIDE | SHEET 15/10 | 6PV120040001 |
| 10 | DA0G 011 | LEFT SUCTION GRID | STAINLESS STEEL AISI304 8/10 | 6PV45I040103 |
| 11 | DA0G 011 | RIGHT SUCTION GRID | STAINLESS STEEL AISI304 8/10 | 6PV45I040083 |
| 12 | DA0G 009 | RIGHT SUCTION GRID CLOSURE | STAINLESS STEEL AISI304 6/10 | 6PV45I040084 |
| 13 | DA0A 031 | RIGHT BODY HEAD | STAINLESS STEEL AISI304 6/10 | 6PV45E040029 |
| 14 | ET0G 001 | FRONT BRACKET – RIGHT FROM SERVICE SIDE | STAINLESS STEEL AISI304 15/10 | 6BV120042002 |
| 15 | ET0G 001 | FRONT BRACKET – LEFT FROM SERVICE SIDE | STAINLESS STEEL AISI304 15/10 | 6BV120042003 |
| 16 | DA0G 009 | LEFT SUCTION GRID CLOSURE | STAINLESS STEEL AISI304 6/10 | 6PV45I040104 |

- DECORATION – FRAME – DRAIN – CONTROL PANEL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | DA0J 007 | FRONTAL DECORATION PANEL 135º I CORNER | PLAST. SHEET 6/10 | 2PV45I070011 |
| 2 | ET0J 001 | DECORATION REST BRACKET | SHEET 15/10 | 6BV120072007 |
| 3 | ET0B 002 | FRAME BRACKET | SHEET 15/10 | 6BV120002017 |
| 4 |  | CONTROL BOARD |  |  |
| 5 | ET0B 001 | GALVANIZED FRAME BETA | IRON PROFILES 360 | 4280114 |
| 6 | ET0B 007 | LOADING SLIDE EE 845 | SPRUCE WOOD | 4321296 |
| 7 | DA0B 004 | BACK FRAME CROSS MEMBER INT. CORNER | SHEET 20/10 | 6PV45I000014 |
| 8 | DA0J 008-2 | PIERCED BACK PANEL 135º E CORNER | PLAST. SHEET 6/10 | 6PV45I070004 |
| 9 |  | DRAIN |  |  |
| 10 | DA0B 004 | FRONT FRAME CROSS MEMBER INT. CORNER | SHEET 20/10 | 6PV45I000015 |
| 11 | ET0B 007 | LOADING SLIDE EE 505 | SPRUCE WOOD | 4321295 |

3.1 CONTROL PANEL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 |  | BALLAST 18-20 W |  | 4115102 |
| 2 |  | FASTON TERMINAL SCREW PA 80 |  | 4113722 |
| 3 |  | END TERMINAL PA 81 |  | 4113703 |
| 4 | VS6C 001 | ELECTRIC SYSTEM TERMINAL BOARD LABEL VS-BT | PVC INDELIBLE ADHESIVE | 4335649 |
| 5 | DA0C 003 | BALLAST HOLDER BOARD | SHEET 10/10 | 6PV45E020008 |

3.2 DRAIN IN BASIN

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 |  | PST WHITE BASIN | PVC | 4100105 |
| 2 | ET0I 002 | CORNER BASIN GUIDE | SHEET 10/10 | 6BV90E052001 |
| 3 |  | PIPE D32 | ABS | 4102125 |
| 4 |  | PIPE NUT D32 | ABS | 4102125 |
| 5 |  | OREGON TUBE UL94V2 DIAMETER 32 | PVC | 4180815 |

3.3 DRAIN IN EVAPORATOR BASIN

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 | MV 351 | BASIN BRACKET |  |  |
| 2 | MV 349 | EVAPORATOR BASIN | STAINLESS STEEL |  |
| 3 | MV 350 | CARTRIDGE HEATER 230W |  | 4402711 |

3.4 DIRECT DRAIN

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. |
| --- | --- | --- | --- | --- |
| 1 |  | PIPE D32 | ABS | 4102125 |
| 2 |  | PIPE NUT D32 | ABS | 4102125 |
| 3 |  | OREGON TUBE UL94V2 DIAMETER 32 | PVC | 4180815 |

===========================================

Regione Gabannone, 4 – Zona Industriale

15030 TERRUGGIA (AL) ITALY

Tel.     +39 0142 433711

Fax.    +39 0142 433700