EXPLODED VIEW

VS-PORTOFINO FAN ASSISTED

90º EXTERNAL CORNER

GENERAL SPLITTING UP

- GLASSES SUPERSTRUCTURE – ALUMINIUM TOP AND LAMPS – FRONTAL FINISH

- INTERNAL FINISH – WORKING TABLE – DISPLAY PLATE – EVAPORATOR

- FRONTAL DECORATION – FRAME  – CONTROL PANEL

1. GLASSES SUPERSTRUCTURE

1.1 LEFT GLASS AND PROFILES

1.2 LEFT GLASS UPRIGHT

1.3 CENTRAL GLASS UPRIGHT

1.4 ALUMINIUM TOP AND LAMP

1.5 CENTRAL GLASS AND PROFILES

1.6 RIGHT GLASS UPRIGHT

1.7 RIGHT GLASS AND PROFILES

1.8 FRONTAL FINISH

  - LEFT GLASS AND PROFILES

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | DA0D 001 | LEFT SILKSCREEN GLASS ANG. E. 135º E | FLOAT 6mm | 4191554 |
| 2 |  | GLASS GASKET PROFILE | PVC | 4180100 |
| 3 |  | LEFT JAW INSERT PROFILE 135º E | ALUMINIUM PROFILE E5628A | 2PV45E030046 |
| 4 | DA0D 009 | LEFT JAW PROFILE 135º E | ALUMINIUM | 2PV45E030045 |

  - LEFT GLASS PROFILE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | DA0D 006 | PORTOFINO FRONTAL UPRIGHT | ALUMINIUM ALLOY 6060 T5 | 4351214 |
| 2 | DA0D 014 | REINFORCEMENT FOR FRONTAL UPRIGHT | GALVANIZED SHEET. 15/10 | 6PV120030002 |
| 3 | DA0D 005 | FRONTAL UPRIGHT SUPPORT | DRAWN IRON 4X40 | 2PV120030009 |
| 4 | RG 072 | BACK SIDE UPRIGHT PIN “SIGMA” | RUNG STEEL Ø15 | 4140070 |
| 5 |  | WHITE CAP DP500 | PLASTIC | 4333114 |
| 6 | TT0D 013 | UPRIGHT PIN FIRENZE | RUNG STEEL Ø15 | 4140088 |
| 7 | TT0D 003 | FRONTAL PIN | DRAWN GROUND STEEL D 6 | 4140085 |
| 8 | TT0D 024 | LEFT TOP FIXING BRACKET | IRON SHEET 15/10 | 2FI125030202 |
| 9 | TT0D 005 | BACKSIDE PIN | DRAWN GROUND STEEL D 6 | 4140086 |
| 10 |  | SEGGER 7 | GALVANIZED STEEL | 8298304 |
| 11 | TT0D 001 | LEVER SUPPORT | IRON SHEET 20/10 | 2FI125030013 |
| 12 |  | SPACER WITH HOLE DCS79B NYLON 6R ELECTROZUB | NYLON | 150 |
| 13 |  | SEGGER 5 | GALVANIZED STEEL | 8298303 |
| 14 | EEAV 011 | LEFT ROTATION LEVER PRESSOFUS | ALUMINIUM ALLOY | 4282114 |
| 15 |  | PISTON STROKE 60 | STEEL | 4145019 |
| 16 | ECAV 016 | NYLON BUSHING PISTON | NYLON | 8291718 |
| 17 | ECAV 018 | FRONT SIDE PISTON | STEEL | 4140054 |

  - CENTRAL GLASS UPRIGHT

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | DA0D 006 | PORTOFINO FRONTAL UPRIGHT | ALUMINIUM ALLOY 6060 T5 | 4351214 |
| 2 | DA0D 005 | UPRIGHT SUPPORT | DRAWN IRON 4X40 | 2PV120030009 |
| 3 | DA0D 014 | REINFORCEMENT FOR FRONTAL UPRIGHT | GALVANIZED SHEET 15/10 | 6PV120030002 |
| 4 | RG 072 | BACKSIDE UPRIGHT PIN “SIGMA” | RUNG STEEL Ø15 | 4140070 |
| 5 |  | WHITE CAP DP500 | PLASTIC | 4333114 |
| 6 | TT0D 013 | UPRIGHT PIN FIRENZE | RUNG STEEL Ø15 | 4140088 |
| 7 | EEAV 011 | RIGHT ROTATION LEVER PRESSOFUS | ALUMINIUM ALLOY | 4282113 |
| 8 | ECAV 016 | NYLON BUSHING PISTON | NYLON | 8291718 |
| 9 |  | SEGGER 5 | GALVANIZED STEEL | 8298303 |
| 10 | TT0D 024 | LEFT TOP FIXING BRACKET | IRON SHEET 15/10 | 2FI125030202 |
| 11 | TT0D 006 | BACKSIDE CENTRAL PIN | STEEL | 4140087 |
| 12 |  | PISTON STROKE 60 | STEEL | 4145019 |
| 13 |  | SPACER WITH HOLE DCS79B NYLON 6R ELECTROZUB | NYLON | 150 |
| 14 | TT0D 001 | LEVER SUPPORT | IRON SHEET 20/10 | 2FI125030013 |
| 15 |  | SEGGER 7 | GALVANIZED STEEL | 8298304 |
| 16 | TT0D 024 | RIGHT TOP FIXING BRACKET | IRON SHEET 15/10 | 2FI125030201 |
| 17 | TT0D 004 | FRONTAL SIDE CENTRAL PIN | STEEL | 4140084 |
| 18 | ECAV 018 | FRONTAL PISTON PIN | STEEL | 4140054 |
| 19 | EEAV 011 | LEFT ROTATION LEVER | ALUMINIUM ALLOY | 4282114 |

1.4 ALUMINIUM TOP AND LAMP

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | DA0D 008 | RIGHT TOP PROFILE 135º E | ALUMINIUM PROFILE Q 1238 | 2PV45E030027 |
| 2 | DA0D 008 | CENTRAL TOP PROFILE 135º E | ALUMINIUM PROFILE Q 1238 | 2PV90E030007 |
| 3 | DA0D 008 | LEFT TOP PROFILE 135º E | ALUMINIUM PROFILE Q 1238 | 2PV45E030047 |
| 4 | AV 011 | LEFT ROTATION LEVER | ALUMINIUM ALLOY | 4282114 |
| 5 |  | COMPACT LAMP DULUX L18W/76 |  | 4113623 |
| 6 |  | LAMP HOLDER + STARTER HOLDER 441/V-16 |  | 4114712 |
| 7 |  | UNIVERSAL STARTER FS 11 |  | 4116001 |
| 8 | DA0E 001 | LEFT LAMP HOLDER PV 135º E | PLAST.SHEET 8/10 | 6PV45E020046 |
| 9 | DA0E 001 | RIGHT LAMP HOLDER PV 135º E | PLAST. SHEET 8/10 | 6PV45E020006 |
| 10 | TT0D 065 | LEVER SUPPORT CORNER | IRON SHEET 25/10 | 6FI45E030018 |
| 11 | AV 011 | RIGHT ROTATION LEVER | ALUMINIUM ALLOY | 4282113 |

1.5 CENTRAL GLASS AND PROFILES

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | DA0D 002 | CENTRAL GLASS SILKSCREEN 90º EXT. CORNER | FLOAT 6mm | 4191555 |
| 2 |  | GLASS GASKET PROFILE | PVC | 4180100 |
| 3 |  | CENTRAL JAW INSERT PROFILE 90º E | ALU. PROF. E5628A | 2PV90E030006 |
| 4 | DA0D 009 | CENTRAL JAW PROFILE 90º E | ALUMINIUM | 2PV90E030005 |

  - RIGHT GLASS UPRIGHT

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | DA0D 006 | PORTOFINO FRONTAL UPRIGHT | ALUMINIUM ALLOY 6060 T5 | 4351214 |
| 2 | DA0D 014 | REINFORCEMENT FOR FRONTAL UPRIGHT | GALVANIZED SHEET 15/10 | 6PV120030002 |
| 3 | DA0D 005 | FRONT UPRIGHT SUPPORT | DRAWN IRON 4X40 | 2PV120030009 |
| 4 | RG 072 | BACKSIDE UPRIGHT PIN “SIGMA” | RUNG STEEL Ø15 | 4140070 |
| 5 |  | WHITE CAP DP500 | PLASTIC | 4333114 |
| 6 | ECAV 018 | FRONT PISTON PIN | STEEL | 4140054 |
| 7 | EEAV 011 | RIGHT ROTATION LEVER PRESSOFUS | ALUMINIUM ALLOY | 4282113 |
| 8 | ECAV 016 | NYLON BUSHING PISTON | NYLON | 8291718 |
| 9 |  | PISTON STROKE 60 | STEEL | 4145019 |
| 10 |  | SEGGER 7 | GALVANIZED STEEL | 8298304 |
| 11 |  | SPACER WITH HOLE DCS79B NYLON 6R ELECTROZUB | NYLON | 150 |
| 12 | TT0D 001 | LEVER SUPPORT | IRON SHEET 20/10 | 2FI125030013 |
| 13 | TT0D 024 | RIGHT TOP FIXING BRACKET | IRON SHEET 15/10 | 2FI125030201 |
| 14 | TT0D 005 | BACK SIDE PIN | DRAWN GROUND STEEL D 6 | 4140086 |
| 15 | TT0D 003 | FRONT SIDE PIN | DRAWN GROUND STEEL D 6 | 4140085 |
| 16 |  | SEGGER 5 | GALVANIZED STEEL | 8298303 |
| 17 | TT0D 013 | UPRIGHT PIN FIRENZE | RUNG STEEL Ø15 | 4140088 |

1.7 RIGHT GLASS AND PROFILES

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | DA0D 003 | RIGHT SILKSCREEN GLASS 135º EXT. CORNER | FLOAT 6mm | 4191553 |
| 2 |  | GLASS GASKET PROFILE | PVC | 4180100 |
| 3 |  | RIGHT JAW INSERT PROFILE 135º E | ALUMINIUM PROFILE E5628A | 2PV45E030026 |
| 4 | DA0D 009 | RIGHT JAW PROFILE 135º E | ALUMINIUM | 2PV45E030025 |

  - FRONTAL FINISH

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | DA0L 008 | RIGHT JOINING PROFILE PV 135º E | GREY PVC PROFILE | 2PV45E0F0014 |
| 2 | P0391 | RIGHT GLASS GUM LEDGE PROFILE | GUM | 4180403 |
| 3 | DA0L 004 | RIGHT LEDGE GLASS PROFILE | ALUMINIUM PROFILE | 2PV45E0F0015 |
| 4 | DA0L 008 | CENTRAL JOINING PROFILE PV 135º E | GREY PVC PROFILE | 2PV90E0F0004 |
| 5 | P0391 | CENTRAL LEDGE GUM GLASS PROFILE | GUM | 4180403 |
| 6 | DA0L 004 | CENTRAL GLASS LEDGE PROFILE | ALUMINIUM PROFILE | 2PV90E0F0005 |
| 7 | DA0L 008 | LEFT JOINING PROFILE PV 135º E | GREY PVC PROFILE | 2PV45E0F0024 |
| 8 | P0391 | LEFT GLASS GUM LEDGE PROFILE | GUM | 4180403 |
| 9 | DA0L 004 | LEFT GLASS LEDGE | ALUMINIUM PROFILE | 2PV45E0F0025 |
| 10 | TT0L 004 | BUMPER RAIL HOOK BRACKET | IRON SHEET 15/10 | 6FI1250F0008 |
| 11 | DA0L 001 | RIGHT FRONTAL BRACKET SUPPORT | IRON SHEET 15/10 | 6PV1200F0002 |
| 12 | DA0L 002 | LEFT STOPPER PROFILE PV 135º E | PVC ANTI-CRASH PROFILE | 2PV45E0F0021 |
| 13 | DA0L 002 | CENTRAL STOPPER PROFILE PV 135º E | PVC ANTI-CRASH PROFILE | 2PV90E0F0001 |
| 14 | DA0L 002 | RIGHT STOPPER PROFILE PV 135º E | PVC ANTI-CRASH PROFILE | 2PV45E0F0011 |

- INTERNAL FINISH

2.1 WORKING TABLE

2.2 DISPLAY PLATE

2.3 INTERNAL FINISH

2.4 EVAPORATOR

2.5 FAN HOLDER

2.1 WORKING PLATE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | DA0H 004 | PLATE 90º EXTERNAL CORNER | POLYETHYLENE Sp. 25mm | 4081150 |
| 2 | DA0H 012 | BACK CLOSURE WORKING TABLE 90º E | STAINLESS STEEL AISI304 8/10 | 6PV90E010007 |
| 3 | DA0H 004 | UNDERPLATE 90º EXT. CORNER | POLYETHYLENE Sp. 18mm | 4081151 |
| 4 | DA0H 012 | FRONT SIDE WORKING TABLE CLOSURE 90º E | STAINLESS STEEL AISI304 8/10 | 6PV90E010006 |
| 5 | TT0C 002 | LIQUID CRYSTAL THERMOMETER HOLDER | STAINLESS STEEL AISI304 15/10 | 6FI125020007 |
| 6 |  | DIGITAL THERMOMETER CC10030000-A |  | 4131307 |

2.2 DISPLAY PLATE

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | DA0K 001 | RIGHT PLATE 135º EXTERNAL PV | PLAST. SHEET 8/10 | 6PV45E0A0021 |
| 2 | DA0K 001 | LEFT PLATE 135º EXTERNAL PV | PLAST. SHEET 8/10 | 6PV45E0A0022 |

2.3 INTERNAL FINISH

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | DA0G 007 | CENTRAL BACKSIDE GRID 90º EXT. CORNER | PLAST. SHEET 8/10 |  |
| 2 | DA0G 005 | LEFT AIR OUTLET GRID | STAINLESS STEEL AISI304 8/10 | 6PV45E040105 |
| 3 | DA0G 052 | RIGHT BACK BRACKET | IRON SHEET 15/10 | 6PV120040001 |
| 4 | DA0G 024 | AIR CHANNEL CLOSURE EXT. CORNER | PLAST. SHEET 6/10 | 6PV45E040012 |
| 5 | ET0U 001 | MULTIPLEXING BRACKET | STAINLESS STEEL AISI304 30/10 | 4282119 |
| 6 | DA0A 031 | LEFT BODY HEAD | STAINLESS STEEL AISI304 6/10 | 6PV45E040030 |
| 7 | DA0G 023 | EVAPORATOR COVER COMPENSATION EXT. CORNER | PLAST. SHEET 6/10 | 6PV45E040011 |
| 8 | ET0G 001 | LEFT FRONT SIDE BRACKET | STAINLESS STEEL AISI304 15/10 | 6BV120042003 |
| 9 | DA0G 004 | LEFT SUCTION GRID CLOSURE | STAINLESS STEEL AISI304 6/10 | 6PV45E040104 |
| 10 | DA0G 003 | LEFT SUCTION GRID | STAINLESS STEEL AISI304 8/10 | 6PV45E040103 |
| 11 | DA0G 008 | CENTRAL PAINTED SUCTION GRID | PLAST. SHEET 8/10 |  |
| 12 | DA0G 006 | CENTRAL SUCTION GRID CLOSURE | PLAST. SHEET 6/10 | 6PV90E040004 |
| 13 | DA0G 004 | RIGHT SUCTION GRID CLOSURE | STAINLESS STEEL AISI304 6/10 | 6PV45E040084 |
| 14 | DA0G 003 | RIGHT SUCTION GRID | STAINLESS STEEL AISI304 8/10 | 6PV45E040083 |
| 15 | ET0G 001 | RIGHT FRONTAL BRACKET | STAINLESS STEEL AISI304 15/10 | 6BV120042002 |
| 16 | DA0A 031 | RIGHT BODY HEAD | STAINLESS STEEL AISI304 6/10 | 6PV45E040030 |
| 17 | DA0G 052 | LEFT BACK SIDE BRACKET | IRON SHEET 15/10 | 6PV120040002 |
| 18 | DA0G 005 | RIGHT AIR OUTLET GRID | STAINLESS STEEL AISI304 8/10 | 6PV45E040085 |

2.4 EVAPORATOR BV 45º E R404 BOC

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | EEB0 103 | EVAPORATOR EXC. S/B ANG. 135º | COPPER TUBE – ALUMINIUM SHEET | 4222005 |
| 2 |  | SUCTION TUBE | COOPER D. 6X8 | 4272425 |
| 3 |  | CONNECTION TUBE | COOPER D. 10X12 | 4272424 |
| 4 |  | EVAPORATOR - VALVE TUBE | COOPER D. 6X8 | 4272415 |
| 5 | EEB0 103 | EVAPORATOR EXC. S/B ANG. 135º | COPPER TUBE – ALUMINIUM SHEET | 4222005 |
| 6 |  | PIPE UNION ½ SAE D.12 7030/4M12 |  | 4271204 |
| 7 |  | THERMOSTAT VALVE R404 TS 2 CART. |  | 4251312 |
| 8 |  | DELIVERY SIDE TUBE FOR VALVE SYSTEM | COOPER D. 4X6 | 4272413 |
| 9 |  | ANTICONDENSATE TUBE | INSULATING SPONGE 6X15 | 4270503 |

2.5 FAN HOLDER

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | 0BP0201 | PROTECTION GRID D.200 | PVC | 4271908 |
| 2 |  | EVAPORATOR COVER CORNER | PST VACUUM | 4101230 |
| 3 |  | FAN D.154 18º H22MM.ASP.VSV | ALUMINIUM | 4249926 |
| 4 |  | MOTOR FAN 5W D.154 |  | 4240501 |

- DECORATION – FRAME  – CONTROL PANEL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | DA0J 004 | FRONTAL BLIND PANEL 135º E | PLAST. SHEET 6/10 | 6PV45E070002 |
| 2 | DA0J 004 | FRONTAL BLIND PANEL 135º E | PLAST. SHEET 6/10 | 6PV45E070002 |
| 3 |  | ELECTRICAL PANEL |  |  |
| 4 | ET0B 002 | FRAME BREACKET | IRON SHEET 15/10 | 6BV120002017 |
| 5 | ET0J 001 | DECORATION SUPPORT BRACKET | IRON SHEET 15/10 | 6BV120072007 |
| 6 | DA0J 003 | FRONTAL DECORATION PANEL 135º EXT. CORNER | PLAST. SHEET 6/10 | 2PV45E070011 |
| 7 |  | BLACK MINIGONNA PROFILE |  | 4161901 |
| 8 | DA0J 005 | DECORATION SUPPORT BRACKET CORNER | GALVANIZED SHEET 15/10 | 6PV90E070007 |
| 9 | DA0J 003 | FRONTAL DECORATION PANEL 135º EXT. CORNER | PLAST. SHEET 6/10 | 2PV45E070011 |
| 10 | DA0B 002 | FRAME EXT. CORNER CROSS MEMBER | IRON SHEET 20/10 | 6PV45E000014 |
| 11 | ET0B 007 | LOADING SLIDE EE 845 | SPRUCE WOOD | 4321296 |
| 12 | DA0B 006 | LOADING SLIDE BLOCKING BRACKET | IRON SHEET 30/10 | 4282833 |
| 13 |  | FEET BOLT M12 | GALVANIZED STEEL | 8293413 |
| 14 |  | NUT M14 | GALVANIZED IRON |  |
| 15 | DA0B 001 | CROSS MEMBER SUPPORT ‘L’ PROFILE | GALVANIZED SHEET 20/10 | 4031703 |
| 16 |  | ELECTRICAL PANEL |  |  |

3.1 ELECTRICAL PANEL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | DA0C 003 | BALLAST HOLDER PANEL CORNER | IRON SHEET 10/10 | 6PV45E020008 |
| 2 |  | TRANSFORMER 12/230 3VA |  | 4131623 |
| 3 |  | FILTER |  | 4112401 |
| 4 |  | TERMINAL BOARD |  | 4113722 |
| 5 |  | BALLAST 18-20 W |  | 4115102 |

3.2 ELECTRONIC CONTROL PANEL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | DA0C 001 | ELECTRONIC CONTROL PANEL CORNER |  | 6PV90E020009 |
| 2 |  | FEED CABLE |  |  |
| 3 |  | PLUG |  |  |
| 4 |  | STOPPER FAIRLEAD HEYCO SR-6N3-4 | PVC | 8291719 |
| 5 |  | ELECTRONIC CONTROLLER DIXELL |  |  |
| 6 |  | BLACK BIPOLAR SWITCH |  | 4113518 |
| 7 | RG040 | LIGHTING ADHESIVE LABEL “SIGMA” |  | 4335638 |

3.3 DRAIN IN THE EVAPORATOR BASIN

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 | MV 351 | BASIN BRACKET |  |  |
| 2 | MV 349 | EVAPORATOR BASIN | STAINLESS STEEL |  |
| 3 | MV 350 | CARTRIGDE HEATER 230W |  | 4402711 |

3.4 DIRECT DRAIN

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1 |  | NUT D32 | ABS | 4102125 |
| 2 |  | PIPE NUT D32 | ABS | 4102125 |
| 3 |  | OREGON TUBE UL94V2 D 32 | PVC | 4180815 |

===========================================

Regione Gabannone, 4 – Zona Industriale

15030 TERRUGGIA (AL) ITALY

Tel.     +39 0142 433711

Fax.    +39 0142 433700