EXPLODED VIEW

SARDEGNA

EXPLODED VIEW

- INTERNAL FINISH

- COMPLETE SIDE WALL

- INTERNAL FINISH

  - DISPLAY AREA

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1875 BT P110 | 2500 BT P110 | 3750 BT P110 |
| 1 | ISK001 | PLATE 625 P110 WITHOUT HOLE PAINTED | GALVANIZED SHEET 10/10 | 2C-1870A0002 |
|  |  | PLATE 625 P110 WITH HOLE PAINTED |  | 2C-1870A0004 |
| 2 | ISK006 | PLATE INSULATION 625 P110 | PST D30 Thickness 20 mm | 4080681 |
| 3 | ISK007 | TUBE FOR PLATE HOLE | PVC TUBE D.32 CM.300 | 2C-1870A0005 |
| 4 | ISK003 | SUBPLATE 625 P110 | GALVANIZED SHEET SKIMPAS 7/10 | 6C-1870A0006 |

  - INTERNAL FINISH

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1875 BT P110 | 2500 BT P110 | 3750 BT P110 |
| 1 | ISG002 | FRONT BRACKET, PAINTED | IRON SHEET 20/10 | 2C-187040004 |
| 2 | ISD005 | CHAMBER GLASS RAIL-HAND PROFILE | NATURAL SILVER ANODIZED ALUMINIUM | 2C-187040035 | 2C-250040035 | 2C-375040035 |
| 3 | ISG015 | PAINTED SUCTION GRID 1243 | GALVANIZED SHEET 15/10 | 2C-187040011 | 2C-250040011 | 2C-187040011 |
| 4 | ISD003 | GLASS 2 CHAMBER HARDENED 246,6X37,4 CAPRI |  | 4190268 | 4190264 | 4190265 |
| 5 | ISD001 | LATERAL CLOSURE GLASS CHAMBER SUPPORT | IRON SHEET 20/10 | 6C-187040032 |
| 6 | ISC013 | STAINLESS STEEL HEATER 2500 812W |  | 4120151 | 4120152 | 4120153 |
| 7 | ISG014 | EL SUCTION RESISTOR SUPPORT | STAINLESS STEEL AISI 304 15/10 | 6C-187040031 |
| 8 | 1A-014 | PROTECTION SUBSTOPPER | PLASTIC ST60 | 4333113 |
| 9 | TO BT-046 | AIR CHANEL / DRIP RESISTOR LOCK | GALVANIZED SHEET 10/10 | 6T-156040024 (Sx) |
|  |  |  |  | 6T-156040023 (DX) |
| 10 | SAG006 | SARDEGNA BASIN STOPPER | GALVANIZED IRON SHEET 20/10 | 6S-187040001 |
| 11 | ISC014 | STAINLESS STEEL DRIP EVAPORATOR HEATER 3750 375W |  | 4120950 | 4120951 | 4120952 |
| 12 | ISG016 | PAINTED FRONT MASK | GALVANIZED SHEET 10/10 | 2C-187040015 | 2C-250040015 | 2C-375040015 |
| 13 | ISG020-CP | TOP GLASS FRONT BAFFLE PROFILE | LIBANO PROFILE SILVER L.5000 | 2C-187040036 | 2C-250040036 |
| 14 | ISG010 | PAINTED CHAMBER GLASS SUPPORT BRACKET | GALVANIZED SHEET 20/10 | 2C-187040009 (SX) |
|  |  |  |  | 2C-187040007 (DX) |
| 15 | SAG018 | HARDENED BAFFLE GLASS SA-CP-MI 2493X273 | FLOAT 6mm TRANSPARENT | 4192030 | 4192027 | 4192030 |
| 16 | ISD004-CP | VERTICAL PVC CHAMBER GLASS PROFILE | VERT.GLASS PROFILE CHAMBER CAPRI/SIC. L. 3000 MM | 2C-187040034 (SX) |
|  |  |  |  | 2C-187040033 (DX) |

  - FRAME

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1875 BT P110 | 2500 BT P110 | 3750 BT P110 |
| 1 | SAB002 | FRAME WEIR | GALVANIZED SHEET 20/10 | 6S-187000014 |
| 2 | ISB001 | PAINTED FRAME RISER 7016 | GALVANIZED SHEET 20/10 | 2C-187000013 |
| 3 |  | NUT M14 | GALVANIZED IRON |  |
| 4 | 1A-003 | GALVANIZED SCREW TTQST M12X80 | GALVANIZED STEEL | 4331411 |
| 5 | ISB006 | HANDLING SLIDE 2500 | WOOD | 4321462 | 4321365 |

  - DRAIN

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1875 BT P110 | 2500 BT P110 | 3750 BT P110 |
| 1 |  | DRAIN 33590 1'1/2 GAS L.95 MM |  | 4102133 |
| 2 |  | DRAIN NUT 1’1/2 |  |  |
| 3 |  | "ALPHA" CURVE D40 2431 FINISH | ABS | 4102164 |
| 4 |  | HTB D.40 - 87° ELBOW | ABS | 4102157 |
| 5 | ISI002 | LEFT DRAIN SOCKET PIPE |  |  |
| 6 | ISI002 | RIGHT DRAIN SOCKET PIPE |  |  |
| 7 |  | HTB D.40 - 45° ELBOW "ALPHA" 802 | ABS | 4102168 |
| 8 |  | TEE FINISH "ALPHA" 40 2403 SMOOTHED | ABS | 4102166 |

1.5 DECORATION

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1875 BT P110 | 2500 BT P110 | 3750 BT P110 |
| 1 | ISD002 | FRONT GLASS SUPPORT PROFILE | SILVER ANODIZED ALUMINIUM 5μ | 2C-187070006 | 2C-250070006 | 2C-375070006 |
| 2 | ISJ006 | FRONT TROLLEY STOPPER PROFILE | PVC | 2C-187070007 | 2C-250070007 | 2C-375070007 |
| 3 | ISJ001-SF | FRONT PANEL WITHOUT HOLE, PAINTED | GALVANIZED SHEET SKIMPAS 7/10 | 2C-187070004 | 2C-250070004 |
|  | ISJ001-CF | FRONT PANEL WITH HOLE, PAINTED |  | 2C-187070002 | 2C-250070002 |
| 4 | ISJ002 | FRONT SUPPORT BRACKET | GALVANIZED SHEET 15/10 | 6C-187070005 |
| 5 | ISB003 | FRONT BASE BRACKET | GALVANIZED SHEET 15/10 | 6C-187070010 |
| 6 | ISB008 | FRONT MINIGONNA PROFILE | BLACK MINIGONNA PROFILE ATLANTA L.2500 | 2C-187070012 | 2C-250070012 | 2C-375070012 |
| 7 | 1E-004 | FRONT BASE FINISH F350 | PLADT. SHEET 8/10 | 6V-187070007 | 6V-250070007 | 6V-375070007 |
| 8 | 1E-002 | FRONT BASE F350 | PLAST. N12SM 8/10 | 6V-187070009 | 6V-250070009 | 6V-375070009 |

1.6 CONTROL PANEL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1875 BT P110 | 2500 BT P110 | 3750 BT P110 |
| 1 | ISC017 | LCD THERMOM. SUPP. TERMINAL BOARD VERSION | IRON SHEET 8/10 | 6C-187020004 |
| 2 |  | DIGITAL THERMOMETER CC10030000-A |  | 4131307 |

1.7 ELECTRONIC CONTROL BOARD

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1875 BT P110 | 2500 BT P110 | 3750 BT P110 |
| 1 | ISC002 | LEFT ELECTRONIC CONTROL BOARD SUPPORT BRACKET | IRON SHEET 10/10 | 6C-187020006 |
| 2 | ISC003 | ELECTRIC COMPONENTS BOARD | IRON SHEET 10/10 |  |
| 3 | ISC004 | CLOSURE FOR ELECTRONIC CONTROL BOARD | IRON SHEET 10/10 | 6C-187020007 |
| 4 | ISC002 | RIGHT ELECTRONIC CONTROL BOARD SUPPORT BRACKET | IRON SHEET 10/10 | 6C-187020005 |

1.8 BASIN SEPARATOR

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1875 BT P110 | 2500 BT P110 | 3750 BT P110 |
| 1 | SAG011 | HEATER COVER PROFILE 2500 | STAINLESS STEEL AISI304 SATIN-FINISHED +PRO 8/10 | 6S-187040014 | 6S-250040014 | 6S-375040014 |
| 2 | ISD006 | PRICE HOLDER PROFILE | PVC PRICE HOLDER PROFILE COEX.3800MM 1D-001 | 2C-1870A0008 | 2C-2500A0008 | 2C-3750A0008 |
| 3 | SAG003 | PAINTED INTERMEDIATE BRACKET SARDEGNA |  | 2S-187040003 |
| 4 | ISK004-CP | PRICE HOLDER SUPPORT | GALVANIZED SHEET SKIMPAS 7/10 | 6C-1870A0007 | 6C-2500A0007 | 6C-1870A0007 |
| 5 |  | FOAMED PLATE |  | 2S-187000008 | 2S-250000008 | 2S-375000008 |
| 6 | ISG004 | PAINTED BACK MASK | GALVANIZED SHEET 10/10 | 2C-187040013 | 2C-250040013 | 2C-375040013 |
| 7 | SAG005 | PAINTED LATERAL BRACKET SARDEGNA | GALVANIZED SHEET 20/10 | 2S-187040002 |
| 8 | SAG001 | BASIN SEPARATOR 1244 | GALVANIZED SHEET 10/10 | 6S-250040004 |
| 9 | SAG007 | CENTRAL AIR CONVEYOR 1215 | GALVANIZED SHEET SKIMPAS 7/10 | 6S-250040006 |
| 10 | SAG009 | SHEET 004 AIR OUTLET 2500 V. -1250-L4 | IRON SHEET P01 10/10 | 2S-250040011 |
| 11 | SAG009 | SHEET 003 AIR OUTLET 2500 V. -1250-L3 | IRON SHEET P01 10/10 | 2S-250040010 |
| 12 | SAG009 | SHEET 002 AIR OUTLET 2500 V. -1250-L2 | IRON SHEET P01 10/10 | 2S-250040009 |
| 13 | SAG009 | SHEET 001 AIR OUTLET 2500 V. -1250-L1 | IRON SHEET P01 10/10 | 2S-250040008 |

1.9 REFRIGERATION

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1875 BT P110 | 2500 BT P110 | 3750 BT P110 |
| 1 | ISF001 | EVAPORATOR COVER P110 | GALVANIZED SHEET SKIMPAS 7/10 | 6C-187040016 | 6C-250040016 | 6C-375040016 |
| 2 |  | EVAPORATOR CP-SA-SC 110 2500 35X35 3474 | COOPER TUBES – ALUMINIUM SHEETS | 4220168 | 4220169 | 4220170 |
| 3 | ISC016 | KLIXON SUPPORT | SILVER-PLATED + PLAST. ALUMINIUM 20/10 | 6C-187040039 |
| 4 |  | SECURITY THERMOSTAT TYPE 2570 L |  | 4130114 |
| 5 | ISF002 | FAN HOLDER | GALVANIZED SHEET SKIMPAS 7/10 | 6C-187040023 | 6C-250040023 | 6C-375040023 |
| 6 |  | MOTOR FAN "PP" 4715 MS23TB10 A00 |  | 4241007 |
| 7 | ISC013 | STAINLESS STEEL RESISTOR |  | 610 W 4120151 | 812 W 4120152 | 1220W 4120153 |
| 8 | ISF013 | DELIVERY TUBE | COOPER D. 8 X 10 (10 X 1) | 2C-187140003 | 2C-250140003 | 2C-375140003 |
| 9 | ISF004 | DRAIN VALVE INSPECTION COMPARTMENT | GALVANIZED SHEET SKIMPAS 7/10 | 6C-187040020 (SX) |
|  |  |  |  | 6C-187040019 (DX) |
| 10 |  | THERMOSTAT. VALVE R404 TES/2 WELD |  | 4251311 |
| 11 |  | PROBE TUBE |  |  |
| 12 | ISF014 | EQUALIZATION TUBE 2500 | COOPER D. 4 X 6 (6 X 1) | 2C-187140004 | 2C-250140004 | 2C-375140004 |
| 13 |  | SUCTION TUBE | COOPER D. 14 X 16 (16 X 1) | 2C-187140002 | 2C-250140002 | 2C-375140002 |
| 14 | ISF003 | EVAPORATOR. INSPECTION COMPARTMENT | GALVANIZED SHEET SKIMPAS 7/10 | 6C-187040018 (SX) |
|  |  |  |  | 6C-187040017 (DX) |
| 15 | ISF005 | EVAPORATOR HEAD | GALVANIZED SHEET SKIMPAS 7/10 | 6C-187040025 (SX) |
|  |  |  |  | 6C-187040024 (DX) |

- SIDE WALL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1875 BT P110 | 2500 BT P110 | 3750 BT P110 |
| 1 | ISM020-R007 | HAND RAIL CORNER | ABS Thickness 2.5 mm | 4100337 |
| 2 | ISD005 | CHAMBER GLASS HAND RAIL PROFILE | ALUMINIUM | 2C-187040035 |
| 3 | SAM029 | VERTICAL BAFFLE SIDE WALL LIBANO PROFILE | LIBANO PROFILE SILVER L.5000 | 2S-187080075 (SX) |
|  |  |  |  | 2S-187080025 (DX) |
| 4 | SAM024 | WHITE JAMB PE SARDEGNA | HDPE | 4080722 |
| 5 | SAM029 | HORIZONTAL BAFFLE SIDE WALL LIBANO PROFILE | LIBANO PROFILE SILVER L.5000 | 2S-187080074 (SX) |
|  |  |  |  | 2S-187080024 (DX) |
| 6 | ISD003 | 2 CHAMBER GLASS HARDENED 184,1X37,4 CAPRI |  | 4190268 |
| 7 | SAM028 | HARDENED BAFFLE GLASS SA-CP-MI 814X207 | FLOAT 6mm TRANSPARENT | 4192029 |
| 8 | ISM050 | EXTERNAL LOCK CORNER | GALVANIZED SHEET 15/10 | 6C-187080029 |
| 9 | ISM026 | VEKA CLOSURE SIDE WALL CORNER CP/SC | VEKAPLAN | 4080724 |
| 10 | ISD004-CP | VERTICAL CHAMBER GLASS PVC PROFILE | VERT. GLASS PROFILE CHAMBER CAPRI/SIC. L. 3000 MM | 2C-187080012 (SX) |
|  |  |  |  | 2C-187080011 (DX) |
| 11 | ISM025 | POLYSTYRENE CORNER R58 L1000 | PST D = 30 kg/dm³ | 4080682 |
| 12 | ISM022-CP | VER. CORNER R58 SP. CAPRI 7042 | GALVANIZED SHEET 6/10 PAINTED | 2C-187080021 |
| 13 | 1B-129 | GREY TROLLEY STOPPER CORNER R59 | NYLON | 4351705 |
| 14 | ISJ006 | FRONT TROLLEY STOPPER PROFILE | PVC PROFILE | 2C-187070007 |
| 15 | ISD002 | FRONT GLASS SUPPORT PROFILE | ALUMINUM | 2C-187070006 |
| 16 | SAM011 | LATERAL BASE SIDE WALL SARDEGNA | PLAST. N12SM 8/10 | 6S-187080008 |
| 17 | SAM013 | LATERAL MINIGONNA SUPPORT | PLAST. N12SM 8/10 | 6S-187080009 |
| 18 | ISB008 | FRONT MINIGONNA PROFILE | BLACK MINIGONNA PROF. ATLANTA L.3750 | 2C-187070012 |
| 19 | ISM012 | LATERAL BASE BRACKET | GALVANIZED SHEET 15/10 | 6C-187080007 (SX) |
|  |  |  |  | 6C-187080006 (DX) |
| 20 | SAM010 | PAINTED SIDE WALL FINISH SARDEGNA | GALVANIZED SHEET 10/10 | 2S-187080015 |
| 21 | SAM001 | INTERNAL SHEET SARDEGNA SIDE WALL | WHITE PLAST. A1SA 8/10 | 6S-187080004 |

===========================================

Regione Gabannone, 4 – Zona Industriale

15030 TERRUGGIA (AL) ITALY

Tel.     +39 0142 433711

Fax.    +39 0142 433700

# Text boxes

  - EXPOSURE PLANE

  - INTERNAL FINISH

  - FRAME

  - DRAIN

  - DECORATION

  - CONTROL PANEL

  - ELECTRIC CONTROL BOARD

  - BASIN SEPARATOR

  - REFRIGERATION