EXPLODED VIEW

SYNUS SELF SERVICE

GENERAL SPLITTING UP

- INTERNAL FINISH, FRONTAL DECORATION

- LATERAL SIDE WALL

# 1. INTERNAL FINISH, FRONTAL DECORATION

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1250 | 1875 | 2500 | 3125 | 3750 |
| 1. |  | BASIN INTERNAL FINISH |  |  |  |  |  |  |
| 2. | TT0G004 | AIR OUTLET GRID | STAINLESS STEEL AISI 304 8/10 | 6FI125040009 | 6FI187040009 | 6FI250040009 | 6FI312040009 | 6FI375040009 |
| 3. | TT0F016 | BACK EVAPORATOR CLOSURE STOPPER .I VL | STAINLESS STEEL AISI304 1F/2B-2F/S4, 5/10 | 6FI125040122 |
| 4. | TT0F006 | BACK EVAPORATOR CLOSURE | STAINLESS STEEL AISI 304 8/10 | 6FI125040020 | 6FI187040020 | 6FI250040020 | 6FI312040020 | 6FI375040020 |
| 5. | TTOK 001 | REMOVABLE PLATE WITHOUT HOLE | STAINLESS STEEL AISI 304 8/10 | 6FI125040002 |
| 6. |  | GLASS STOPPER MANOR SS POLYCARB. MP160 |  | 4081335 |
| 7. | TT0K001 | REMOVABLE PLATE WITH HOLE | STAINLESS STEEL AISI 304 8/10 | 6FI125040004 |
| 8. |  | FAIRLEAD RUBBER D25 |  | 4113102 |
| 9. | TT0D055 | FRONT GLASS SELF SERVICE |  | 4191587 | 4191586 | 4191587 | 4191586 | 4191587 |
|  |  |  |  |  |  |  | 4191587 |  |
| 10. | TT0G005 | SUCTION GRID | STAINLESS STEEL AISI 304 8/10 | 6FI125040011 | 6FI187040011 | 6FI250040011 | 6FI312040011 | 6FI375040011 |
| 11. | SF0D035 | FIXING GLASS SELF SERVICE FRONT BRACKET | STAINLESS STEEL AISI304 2B,15/10 | 6IV125032001 |
| 12. |  | GLASS GASKET PVC PROFILE U ART. P0 924 | PVC | 4180100 |
| 13. | SF0D035 | FIXING GLASS SELF SERVICE BACK BRACKET | STAINLESS STEEL AISI304 2B,15/10 | 6IV125032002 |
| 14. | SF0G012 | LATERAL UPRIGHT STOPPER | PLAST. SHEET 6/10 | 6IV1250F0007 (SX) |
|  |  |  |  | 6IV1250F0006 (DX) |
| 15. | SF0L008 | FRONTAL PROFILE | ALLOY 6060 T5 | 2IV1250F0003 | 2IV1870F0003 | 2IV2500F0003 | 2IV3120F0003 | 2IV3750F0003 |
| 16. |  | BLACK GLASS REBATE RUBBER PROFILE | RUBBER | 4180403 |
| 17. | SF0G013 | CENTRAL UPRIGHT STOPPER | PLAST. SHEET 6/10 | 6IV1250F0005 | 6IV1870F0009(SX) | 6IV2500F0009(SX) | 6IV1870F0009(SX) | 6IV2500F0009(SX) |
|  |  |  |  |  | 6IV1870F0008(DX) | 6IV2500F0008(DX) | 6IV1870F0008(DX) | 6IV2500F0008(DX) |
|  |  |  |  |  |  |  | 6IV3120F0005(CX) |
| 18. | SF0J008 | FRONT PANEL | GALVANIZED SHEET 7/10, PAINTED | 2IV125070001 | - | - | - | - |
|  | SF0J 009 | FRONT PANEL | GALVANIZED SHEET 7/10, PAINTED | - | 2IV187070003(SX) | 2IV250070003(SX) | 2IV187070003(SX) | 2IV250070003(SX) |
|  |  |  |  | - | 2IV187070002(DX) | 2IV250070002(DX) | 2IV187070002(DX) | 2IV250070002(DX) |
|  |  |  |  | - | - | - | 2IV312070001(CX) |
| 19. | SF0L 003 | TROLLEY STOPPER TUBE | ROUND TUBE PROFILE STAINLESS STEEL 22X1,5 L.6000 | 2IV1250F0004 | 2IV1870F0004 | 2IV2500F0004 | 2IV3120F0004 | 2IV3750F0004 |

1.1. BASIN INTERNAL FINISH

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1250 | 1875 | 2500 | 3125 | 3750 |
| 1. |  | BOTTOM BASIN ASSEMBLY |  |  |  |  |  |  |
| 2. | PP379 | EVAPORATOR COVER SUPPORT | STAINLESS STEEL AISI304 6/10 | 6PP096040006 |
| 3. | TT0F005 | EVAPORATOR LATERAL CLOSURE | STAINLESS STEEL AISI304 6/10 | 6FI125040119 |
| 4. | RG034 | SIDE WALL FIXING BRACKET | IRON SHEET 15/10 | 6SV072040039(SX) |
|  |  |  |  | 6SV072040038(DX) |
| 5. | PP042 | BASIN STOPPER INSULATION | POLYSTYRENE D.30 | 2PP096040006 |
| 6. | RG106 | BACK STOPPER BRACKET | IRON SHEET 15/10 | 6SV072040041(SX) |
|  |  |  |  | 6SV072040040(DX) |
| 7. | PP013 | BASIN STOPPER | STAINLESS STEEL AISI304 5/10 | 6PP096040001(SX) |
|  |  |  |  | 6PP096040000(DX) |
| 8. | TT0F007 | BACK CLOSURE SUPPORT | STAINLESS STEEL AISI304 5/10 | 6FI125040121 |
| 9. | TT0H014 | SLIDING GUIDE FOR ACCESSORIES | STAINLESS STEEL AISI304 8/10 | 6FI125010028 | 6FI187010028 | 6FI250010028 | 6FI312010028 | 6FI375010028 |
| 10. | TT0H004 | BACK LEVEL SURFACE SUPPORT | IRON SHEET 20/10 | 6FI125010011(SX) |
|  |  |  |  | 6FI125010009(DX) |
| 11. | TT0H013 | BLIND WIREWAY | PLAST. SHEET 8/10 | 6FI125010007 | 6FI187010007 | 6FI250010007 | 6FI312010007 | 6FI375010007 |
| 12. |  | WORKING TABLE |  | 2FI125010001 | 2FI187010001 | 2FI250010001 | 2FI312010001 | 2FI375010001 |
| 13. | TT0C002 | THERMOMETER HOLDER | STAINLESS STEEL AISI304 15/10 | 6FI125020007 |
| 14. |  | DIGITAL THERMOMETER |  | 4131307 |
| 15. | TT0G006 | BACK GRID SUPPORT BRACKET | IRON SHEET 15/10 | 6FI125040113(SX) |
|  |  |  |  | 6FI125040112(DX) |
| 16. | TT0F001 | EVAPORATOR COVER | STAINLESS STEEL AISI304 8/10 | 6FI125040116 | 6FI187040116 | 6FI250040116 | 6FI312040116 | 6FI375040116 |
| 17. |  | GUMMY INSERT PROFILE | PVC | 4180409 |
| 18. | TT0G013 | TOP DEFLECTOR PROFILE | PVC | 2FI125040007 | 2FI187040007 | 2FI250040007 | 2FI312040007 | 2FI375040007 |
| 19. | SFOL002 | GLASS REBATE PROFILE SUPPORT BRACKET | GALVANIZED SHEET 15/10 | 6IV1250F0002 (SX) |
|  |  |  |  | 6IV1250F0001 (DX) |
| 20. | TT0G007 | FRONT GRID SUPPORT BRACKET | IRON SHEET 15/10 | 6FI125040114 (DX) |
|  |  |  |  | 6FI125040115 (SX) |
| 21. |  | FANS HOLDER ASSEMBLY |  | 2FI125040117 | 2FI187040117 | 2FI250040117 | 2FI312040117 | 2FI375040117 |
| 22. |  | EVAPORATOR |  | 2FI125150001 | 2FI187153001 | 2FI250150001 | 2FI312150001 | 2FI312153001 |

1.1.1. FANS HOLDER. EVAPORATOR

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1250 | 1875 | 2500 | 3125 | 3750 |
| 1. | TT0F002 | FANS HOLDER | STAINLESS STEEL AISI304 6/10 | 6FI125040118 | 6FI187040118 | 6FI250040118 | 6FI312040118 | 6FI375040118 |
| 2. |  | MOTORFAN |  | 4241007 |
| 3. |  | CABLE CONNECTOR L. 1525 MM |  | 4110606 |
| 4. |  | SHUNT BOX D.65 GEWISS | PLAST INSULATING MAT. GW | 4115401 |
| 5. | TT0F016 | EVAPORATOR BACK CLOSURE STOPPER | STAINLESS STEEL AISI 304 8/10 | 6FI125040022 |
| 6. | RG215 | EVAPORATOR | COOPER TUBES - ALUMINIUM SHEETS | 4220343 | - | - | - | - |
|  | RG216 |  |  | - | 4220344 | 4220345 | 4220309 | 4220346 |
| 7. | TT0F008 | SUCTION TUBE | COOPER TUBES 10X12 | 4260104 |
| 8. |  | ANTICONDENSATE TUBE | INSULATING SPONGE 6 X 22 | 4270505 |
| 9. |  | VALVE BULB |  |  |
| 10. |  | WELDED VALVE THERMOSTAT.R404 TES/2 |  | 4251311 |
| 11. |  | PIPE UNION 3/8SAE Ø 8 |  | 4272415 |
| 12. | PP303.1 | EVAPORATOR DELIVERY SIDE TUBE | COOPER TUBES Ø8 | 4271314 |
| 13. | CC0F012 | EVAPORATOR COVER SUPPORT BRACKET | SILVER PLATED +PLASTICIZED ALUMINIUM 20/10 | 6PP096040036 |
| 14. | PP293.1 | VALVE - EVAPORATOR TUBE WITH LIQUID DISTRIBUTOR | COOPER TUBES Ø12 – Ø6 | 4271313 |
| 15. | TT0F023 | DEFROSTING RESISTOR | STAINLESS STEEL AISI 304 | 4122102 | 4122103 | 4122104 | 4122105 | 4122106 |

1.1.2. BOTTOM BASIN ASSEMBLY

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1250 | 1875 | 2500 | 3125 | 3750 |
| 1. |  | DRAIN NUT D. 44 | ABS | 4102106 |
| 2. |  | DRAIN 10124 1'1/2 GAS L.75 MM | ABS | 4102132 |
| 3. |  | DRAIN D. 44 | ABS | 4102106 |
| 4. |  | DRAIN NUT 1” 1/2 GAS | ABS | 4102132 |
| 5. |  | LATERAL FRAME |  |  |
| 6. | TT0B014 | LOADING SLIDE | SPRUCE WOOD | 4321345 |
| 7. |  | CENTRAL FRAME |  |  |
| 8. |  | SPLINE | WOOD 80 X 50 X 630 |  |
| 9. |  | BALLAST HOLDER PANEL |  |  |
| 10. |  | DRAIN EXCELLEN. H90 D32-10106 | ABS | 4102125 |
| 11. |  | DRAIN NUT D32 | ABS |  |
| 12. |  | DRAIN D. 20 | ABS | 4102101 |
| 13. |  | DRAIN NUT D. 20 | ABS | 4102101 |

1.1.2.1. BALLAST HOLDER PANEL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1250 | 1875 | 2500 | 3125 | 3750 |
| 1. |  | BALLAST PANEL | IRON SHEET 10/10 | 2IV125090003 |
| 2. |  | BALLAST |  | 15W | 18 – 20 W | 30W | 36 – 40 W | 58 – 65 W |
|  |  |  |  | 4115106 | 4115102 | 4115103 | 4115104 | 4115105 |

1.1.2.2 LATERAL AND CENTRAL FRAME ASSEMBLY

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1250 | 1875 | 2500 | 3125 | 3750 |
| 1. | SF0B001 | FRAME | ALUMINIUM ALLOY | 2IV125060001 |
| 2. | SF0B010 | CASE FIXING BRACKET | GALVANIZED SHEET 10/10 | 6IV125060003 (SX) |
|  |  |  |  | 6IV125060002 (DX) |
| 3. |  | NUT SPACER M14 | GALVANIZED IRON |  |
| 4. | SF0B008 | LOADING SLIDE FIXING BRACKET | IRON SHEET 30/10 | 4282832 |
| 5. |  | BOLT M12X45 | GALVANIZED STEEL |  |
| 6. | SF0B004 | LATERAL FRAME CLOSURE | GALVANIZED SHEET 10/10 | 2IV125080014 (SX) |
|  |  |  |  | 2IV125080004 (DX) |
| 7. | SF0B005 | SPRING FOR LATERAL CLOSURE COUPLIG | STAINLESS STEEL AISI301 5/10 | 4282798 |
| 8. | SF0B003 | CASE CLOSURE | ABS | 4100339 (SX) |
|  |  |  |  | 4100338 (DX) |
| 9. | SF0J007 | FRONT SIDE WALL STOPPER | GALVANIZED SHEET 7/10 |  |
| 10. |  | STOPPER P.V.C.CHROMED D.25 S.T.1 |  | 4333107 |
| 11. | SF0D031 | GLASS UPRIGHT FOR SELF SERVICE |  | 4081169 |
| 12. |  | KNURLED KNOB PZA0800 |  | 4331413 |

2. LATERAL SIDE WALL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR EACH MODULE |
| --- | --- | --- | --- | --- |
|  |  |  |  | 1250 | 1875 | 2500 | 3125 | 3750 |
| 1. | SF0M001 | SIDE WALL SYNUS POL. PAINTED | POLYURETHANE Thikness 50mm | 2IV125080012 (SX) |
|  |  |  |  | 2IV125080002 (DX) |
| 2. |  | LATERAL GLASS BLOCK | PVC | 4100313 |
| 3. | SF0M005 | SIDE GLASS SELF SERVICE | FLOAT 6 mm |  |
| 4. | ETOM004 | FRONT GLASS – SIDE WALL SS BRACKET | STAINLESS STEEL AISI304 15/10 | 6DV120032001 (DX) |
|  |  |  |  | 6DV120032002 (SX) |

===========================================

Regione Gabannone, 4 – Zona Industriale

15030 TERRUGGIA (AL) ITALY

Tel.     +39 0142 433711

Fax.    +39 0142 433700