EXPLODED VIEW

# SYNUS SELF SERVICE

# 45 INternAL CORNER

GENERAL SPLITTING UP

1. INTERNAL FINISH, FRONTAL DECORATION

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. |  | BASIN INTERNAL FINISH |  |  |
| 2. | SF0K004 | REMOVABLE PLATE INTERNAL CORNER | STAINLESS STEEL AISI304 SB+PRO 8/10 | 6IV45I040006 (SX) |
|  |  |  |  | 6IV45I040004 (DX) |
| 3. | SF0G011 | AIR OUTLET GRID | STAINLESS STEEL AISI304 SB+PRO 8/10 | 6IV45I040027 (DX) |
|  |  |  |  | 6IV45I040047 (SX) |
| 4. | SF0G010 | SUCTION GRID | STAINLESS STEEL AISI304 SB+PRO 8/10 | 6IV45I040022 (DX) |
|  |  |  |  | 6IV45I040002 (CX) |
|  |  |  |  | 6IV45I040042 (SX) |
| 5. | SF0D028 | SS GLASS 45 INTERNAL CORNER | FLOAT 6 MM TRANSPARENT | 4191629 |
| 6. |  | GLASS GASKET PROFILE U ART. P0 924 | PVC | 4180100 |
| 7. | SF0D035 | S/S GLASS BACK FIXING BRACKET | STAINLESS STEEL AISI304 2B,15/10 | 6IV125032002 |
| 8. | SF0G012 | LATERAL UPRIGHT STOPPER | GREY PLAST. N1 6/10 | 6IV1250F0006 (DX) |
|  |  |  |  | 6IV1250F0007 (SX) |
| 9. | SF0D035 | S/S GLASS FRONT FIXING BRACKET | STAINLESS STEEL AISI304 2B,15/10 | 6IV125032001 |
| 10. | SF0G004 | UPRIGHT STOPPER 135° INT. CORNER | GREY PLAST. N1 6/10 | 6IV45I0F0005 |
| 11. |  | GUMMY INSERT PROFILE | PVC | 4180403 |
| 12. | SF0L010 | FRONT PROFILE | ALUMINIUM | 2IV45I0F0003 |
| 13. | SF0J012 | FRONT PANEL | GALVANIZED SHEET SKIMPAS 7/10 | 2IV45I070001 |
| 14. | SF0L005 | TROLLEY STOPPER TUBE | ROUND STAINLESS STEEL TUBE PROFILE 22X1,5 L.6000 | 2IV45I0F0004 |

### 1.1. BASIN INTERNAL FINISH

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. |  | BOTTOM BASIN ASSEMBLY |  |  |
| 2. | TT0H014 | SLIDING GUIDE FOR ACCESSORIES | STAINLESS STEEL AISI304 SB+PRO 8/10 | 6FI093010028 |
| 3. | TT0H004 | BACK LEVEL SURFACE SUPPORT | IRON SHEET 20/10 | 6FI125010011 (SX) |
|  |  |  |  | 6FI125010009 (DX) |
| 4. | SF0H003 | BLIND WIREWAY | GREY PLAST. N1, 6/10 | 6IV45I010025 (DX) |
|  |  |  |  | 6IV45I010045 (SX) |
| 5. |  | SKIMMED PLAIN 135° INT. CORNER |  | 2IV45I010001 |
| 6. | PP211 | BACK CLOSURE 45º EXT. CORNER | STAINLESS STEEL AISI304 DEC9 BA + PRO + SATIN FINISHED 80 H435X7/10 | 6PP45E010008 |
| 7. | PP062 | WHITE PLAST. CM2,5 "PP "45° CORNER | POLYETHYLENE Th. 25mm | 4081121 |
| 8. | PP210 | PLAST. STOPPER EXTERNAL CORNER | POLYETHYLENE Th. 18mm | 4081128 |
| 9. | PP211 | FRONT CLOSURE 45º EXT. CORNER | STAINLESS STEEL AISI304 DEC9 BA + PRO + SATIN FINISHED 80 H435X7/10 | 6PP45E010007 |
| 10. | TT0C002 | THERMOMETER HOLDER | STAINLESS STEEL AISI304 15/10 | 6FI125020007 |
| 11. |  | DIGITAL THERMOMETER |  | 4131307 |
| 12. | TT0G006 | BACK GRID SUPPORT BRACKET | IRON SHEET 15/10 | 6FI125040113(SX) |
|  |  |  |  | 6FI125040112(DX) |
| 13. | SF0F003 | BACK EVAPORATOR CLOSURE | STAINLESS STEEL AISI304 1F/2B-2F/S4 6/10 | 6IV45I040020 |
| 14. |  | FANS HOLDER |  |  |
| 15. | RG106 | BACK STOPPER BRACKET | IRON SHEET 15/10 | 6SV072040041(SX) |
|  |  |  |  | 6SV072040040(DX) |
| 16. | PP013 | BASIN STOPPER | STAINLESS STEEL AISI304 5/10 | 6PP096040001(SX) |
|  |  |  |  | 6PP096040000(DX) |
| 17. | PP042 | BASIN STOPPER INSULATION | POLYSTYRENE D.30 | 2PP096040006 |
| 18. | RG034 | SIDE WALL FIXING BRACKET | IRON SHEET 15/10 | 6SV072040039(SX) |
|  |  |  |  | 6SV072040038(DX) |
| 19. | SFOL002 | GLASS REBATE PROFILE SUPPORT BRACKET | GALVANIZED SHEET 15/10 | 6IV1250F0002(SX) |
|  |  |  |  | 6IV1250F0001(DX) |
| 20. | SF0J005 | FRONT PANEL SUPPORT | GALVANIZED SHEET 15/10 | 6IV45E070017 (SX) |
| 21. | SF0G006 | TOP BAFFLE PROFILE | PVC | 2IV45I040021 (DX) |
|  |  |  |  | 2IV45I040001 (CX) |
|  |  |  |  | 2IV45I040041 (SX) |
| 22. | TT0G007 | FRONT GRID SUPPORT BRACKET | IRON SHEET 15/10 | 6FI125040115 (SX) |
|  |  |  |  | 6FI125040114 (DX) |
| 23. |  | EVAPORATOR ASSEMBLY |  |  |

1.1.1. FANS HOLDER

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | SF0G002 | EVAPORATOR COVER 135° INT. CORNER | STAINLESS STEEL AISI304 1F/2B-2F/S4 6/10 | 6IV45I040018 |
| 2. | SF0F002 | RIGHT LATERAL EVAPORATOR COVER 135°INT. CORNER | STAINLESS STEEL AISI304 1F/2B-2F/S4 6/10 | 6IV45I040039 |
| 3. | SF0F002 | LEFT LATERAL EVAPORATOR COVER 135°INT. CORNER | STAINLESS STEEL AISI304 1F/2B-2F/S4 6/10 | 6IV45I040019 |
| 4. |  | MOTORFAN "PP" 4715 MS23TB10 A00 |  | 4241007 |
| 5. | PP183 | FAN COVER 90° INT. CORNER | STAINLESS STEEL AISI304 1F/2B-2F/S4 6/10 | 6PP90I040012 |
| 6. |  | CABLE CONNECTOR L. 1525 MM |  | 4110606 |

1.1.2. EVAPORATOR

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. |  | EVAPORATOR 720 KING V.VERN. 520 | COOPER TUBES - ALUMINIUM SHEETS | 4220301 |
| 2. | SF0F003 | AIR CLOSURE 135° INT. CORNER | STAINLESS STEEL AISI304 1F/2B-2F/S4 6/10 | 6IV45I040021 (SX) |
|  |  |  |  | 6IV45I040041 (DX) |
| 3. |  | COOPER D.6 X 8 | COOPER TUBES D.6 X 8 | 4272415 |
| 4. |  | WELDED VALVE THERMOSTAT.R404 TES/2 |  | 4251311 |
| 5. | PP440 | COOPER D.6 X 8 L1400 | COOPER TUBES D.6 X 8 | 4272415 |
| 6. |  | ANTICONDENSATE TUBE | INSULATING SPONGE 6 X 22 | 4270505 |
| 7. |  | VALVE BULB |  |  |
| 8. |  | PIPE UNION 3/8SAE Ø8 |  | 4272415 |
| 9. |  | CAPILLARY TUBE | COOPER TUBES 1.8X3 | 4260206 |
| 10. | PP441 | COOPER D.4X6 L.75 | COOPER TUBES D.4 X 6 | 4272414 |
| 11. | RG179 | DEFROSTING RESISTOR Ø8.5 | STAINLESS STEEL AISI304 | 4122101 |

1.1.3. BOTTOM BASIN ASSEMBLY

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. |  | LATERAL FRAME |  |  |
| 2. | 0B 007 | LOADING SLIDE EE 3565 | SPRUCE WOOD 75X38 | 4321223 |
| 3. | PP178 | SLIDE ALPHA" H80 L. 720 | SPRUCE WOOD | 4321310 |
| 4. |  | DRAIN D. 44 | ABS | 4102106 |
| 5. |  | BALLAST HOLDER PANEL |  |  |
| 6. |  | DRAIN NUT 1’’1/2 | ABS |  |
| 7. |  | DRAIN D. 20 | ABS | 4102101 |
| 8. |  | DRAIN 10124 1’1/2 GAS L.75 MM | ABS | 4102132 |
| 9. |  | DRAIN NUT D. 20 | ABS | 4102101 |
| 10. |  | DRAIN NUT D. 44 | ABS | 4102106 |

1.1.3.1. BALLAST HOLDER PANEL

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. |  | BALLAST PANEL | IRON SHEET 10/10 | 2IV125090003 |
| 2. |  | BALLAST |  | 15W | 18 – 20 W | 30W | 36 – 40 W | 58 – 65 W |
|  |  |  |  | 4115106 | 4115102 | 4115103 | 4115104 | 4115105 |

1.1.3.2. LATERAL FRAME

| ITEM NUMBER | DOCUMENT NUMBER | TITLE | MATERIAL | PART NO. FOR MODULE |
| --- | --- | --- | --- | --- |
| 1. | SF0B001 | FRAME | ALUMINIUM ALLOY | 2IV125060001 |
| 2. | SF0B010 | CASE FIXING BRACKET | GALVANIZED SHEET 10/10 | 6IV125060003 (SX) |
|  |  |  |  | 6IV125060002 (DX) |
| 3. |  | NUT SPACER M14 | GALVANIZED IRON |  |
| 4. | SF0B008 | LOADING SLIDE FIXING BRACKET | IRON SHEET 30/10 | 4282832 |
| 5. |  | BOLT M12X45 | GALVANIZED STEEL |  |
| 6. | SF0B004 | LATERAL FRAME CLOSURE | GALVANIZED SHEET 10/10 | 2IV125080014 (SX) |
|  |  |  |  | 2IV125080004 (DX) |
| 7. | SF0B005 | SPRING FOR LATERAL CLOSURE COUPLIG | STAINLESS STEEL AISI301 5/10 | 4282798 |
| 8. | SF0B006 | CASE CLOSURE | ABS | 4100339 (SX) |
|  |  |  |  | 4100338 (DX) |
| 9. |  | KNURLED KNOB PZA0800 |  | 4331413 |
| 10. | SF0D031 | UPRIGHT FOR SELF SERVICE GLASS |  | 4081169 |
| 11. | SF0J007 | FRONT SIDE WALL STOPPER | GALVANIZED SHEET 7/10 |  |
| 12. |  | CHROMED STOPPER D.25 S.T.1 | PVC | 4333107 |

===========================================

Regione Gabannone, 4 – Zona Industriale

15030 TERRUGGIA (AL) ITALY

Tel.     +39 0142 433711

Fax.    +39 0142 433700